# ERCOT Response Surface Project — Build Plan

Architecture, data design and the reasoning behind every design choice

Prepared for Alex · October 3, 2026 · Companion to the Project Guide · Version 3.2, revised after a section-by-section architecture review and the owner’s scope decisions

Contents

1. What this document is	3

1.1 What changed in version 3.2 and why	3

1.2 What carries over from version 3.1	6

1.3 Earlier changes and their status in version 3.2	6

2. Goals, requirements and constraints	7

2.1 What the system must produce	7

2.2 Quality requirements	8

2.3 Constraints	9

3. Architecture overview	9

3.1 The shape of the system	9

3.2 Data layers	10

3.3 Why a file-based batch pipeline	11

4. Design principles	11

5. Data design	12

5.1 Raw layer	12

5.2 Interim layer — the hourly panel	14

5.3 Processed layer — hourly features	15

5.4 Processed layer — the daily modeling table	16

5.5 Outputs	17

6. Step-by-step design	18

6.1 Step 1 — Ingest (ingest.py)	18

6.2 Step 2 — Align (build.py, align())	20

6.3 Step 3 — Features (build.py, make_features())	22

6.4 The RSR engine (rsr.py)	24

6.5 Step 4 — Model runner (run_models.py)	28

6.6 Step 5 — Figures (figures.py)	30

6.7 Step 6 — Optional phase (in run_models.py)	31

7. Cross-cutting concerns	33

7.1 Time	33

7.2 Space	33

7.3 Missing data policy	34

7.4 Outliers and heavy tails	34

7.5 Units	35

7.6 Reproducibility	35

7.7 Size and performance	35

8. Validation and testing strategy	35

9. Design decision records	36

10. Risks and mitigations	40

11. Build sequence and milestones	42

12. How the architecture maps to the report and interview	43

13. References	45

# 1. What this document is

The Project Guide explains the assignment, the market and the method. This Build Plan explains how to build the analysis as a system. It covers the overall architecture, what each part is responsible for, how data is shaped at every step, and why each design choice was made over the alternatives.

The goal is that you can explain every part of your pipeline in the interview without looking at code. If someone asks “why did you do it this way,” the answer should be in here.

Version 3.2 revises the plan after an architecture review dated October 3, 2026. The review read every section of version 3.1 against the assignment and against primary sources. It found the file-based design sound but said the minimum deliverable did not guarantee zonal response surfaces, several timing and coverage rules were incomplete, and the optional work left almost no slack. Version 3.2 fixes those points and also records six owner decisions made after the review. The decisions are to keep only the West basis model as an optional extra, to use the all-hours daily mean as the main level response, to use statsmodels HAC errors instead of a custom EWC estimator, to plan on about 38 working hours with nothing pulled yet, to take every dataset from Grid Status through its API, and to keep every dataset the assignment does not ask for out of the main models until the main assignment is done and you decide to extend.

Section 1.1 lists every change in version 3.2 with the review finding behind it. Review findings are cited by their IDs, like 6.2-F2, which point to the review document. Numbers in square brackets, like [2], point to the reference list in Section 13. References [1] to [42] keep their version 3.1 numbers. New ones are [43] to [54].

No code exists and no data has been pulled. Every check in this plan is a planned check, not a passed one.

## 1.1 What changed in version 3.2 and why

The changes are listed roughly in order of importance.

| Change | Why | Review | Where |
| --- | --- | --- | --- |
| Zonal response surfaces are the minimum deliverable. Level and volatility surfaces for all four zones and a four-zone results table come before any system or extra work | The assignment asks for response surface regression on zonal data. The version 3.1 minimum named only the two system fits, so it could be met while missing a literal requirement | 2-F1, 10-F7, 11-F2, 12-F1 | 2.1, 6.5, 11, 12 |
| Main models use only the five required datasets (DA prices, RT prices, zonal load, temperature and gas). Zone and system surfaces are two-factor temperature × peak load surfaces. The load forecast, weather-zone load, wind, solar and storage datasets become optional and are pulled only if you decide to extend after the main assignment is done | Owner decision. The assignment does not ask for those datasets, they cost about 63 requests at 1,000-row pages, and keeping them out makes the main result depend only on what the assignment names | Owner decision, 6.1-F5 | 2.1, 5, 6.1, 6.5, 6.7, 11 |
| Scope cut. The ex-ante forecast race (rolling folds, persistence, Diebold–Mariano), the RTC+B regime test, the heat-rate and demand surfaces, gross against net and most robustness rows move to future work. The West basis model and the event table move to an optional phase | Version 3.1 used 49.5 of 50 hours with no code written, and the slots left from October 3 were smaller than the estimate. Fitting is cheap but checking, explaining and writing up each model is not | 2-F2, 6.5-F6, 6.7-F1, 11-F3, 12-F2 | 2.1, 6.5, 6.7, 11 |
| The main level response is the all-hours daily mean spread, which exists on every calendar day. The weekday on-peak mean becomes the one robustness refit, with its own sample size | Weekday on-peak hours exist on only 261 of the 365 days in the window. On weekends that mean is undefined, not zero | 5-F1, 6.3-F1, 6.5-F1 | 5.4, 6.3, 6.5 |
| Coverage rules. An hourly RT price needs four distinct quarter-hour prices. A daily response needs every expected local hour (23, 24 or 25). Factor coverage is counted for each model | A fixed 23-hour threshold lets a normal day lose its one spike hour and still pass. A partial RT mean can hide a scarcity interval | 5-F2, 6.2-F2, 6.3-F3, 7-F2, 8-F3 | 5.4, 6.2, 7.3, 8 |
| Standard errors come from statsmodels Newey–West HAC with L=⌈1.3T ⌉ lags and t and F reference distributions. p-values are labeled approximate. The custom EWC estimator is cut | A custom estimator needs its own independent check, which the NCSS example cannot supply. The simpler choice is defensible and frees engine time | 6.4-F3, 8-F2, 9-F6, 11-F5 | 6.4, 9 |
| Sequential sums of squares are descriptive only. HAC Wald tests are labeled full-model conditional tests | A sequential ANOVA row and a Wald test of the same group in the full model test different hypotheses | 6.4-F2 | 5.5, 6.4 |
| No forecasting claims. Every surface is explanatory. The 10 a.m. vintage rule stays for forecast inputs in the optional phase and is checked row by row | Version 3.1 used two different forecast origins, and neither the persistence baseline nor gas availability was proven for either. With the forecast race cut, no model needs an origin | 2-F3, 4-F1, 6.5-F4, 7-F1, 8-F4 | 4, 6.5, 7.1 |
| The gas lag is labeled an assumption and gets a same-date sensitivity. The EIA observation date is not treated as a release time | The cited EIA page defines futures contracts, not the spot delivery mapping. The 9 a.m. gas day also differs from the midnight electrical day | 6.2-F4, 6.2-F5, 9-F2, 10-F2 | 5.2, 6.2, 7.1 |
| No zonal battery-charging adjustment. Zonal load stays as published, with the RTC+B block and a stated caveat. The storage pull becomes optional | One system charging series cannot identify four zonal corrections, and the planned one-for-one check compared the wrong series | 6.2-F3, 10-F3 | 5.2, 6.2 |
| The West basis is its own descriptive response. The claim that it equals a stacked model is removed, and its joint test is renamed a test of West-basis factor dependence | The equivalence fails with changing load weights and a nonlinear asinh. Zero slopes do not show that the zones are equal | 6.5-F2, 6.5-F3, 9-F1, 10-F5, 12-F5 | 6.5, 9 |
| The API budget counts requests and dataset access, not only rows. Account limits are measured first and pulls run in priority order | The free plan lists 250 requests a month. At 1,000 rows per page the full plan plus the trial pull needs more than 250 | 6.1-F1, 10-F1, 11-F4 | 5.1, 6.1, 10 |
| Cache identity. Every raw file has a manifest with the query, row count, checksum and status. Writes are atomic, test and full caches are separate, and a refresh makes a new snapshot | File existence alone can reuse a one-week test file as the full year, and a failed paginated call saves nothing | 3-F3, 4-F4, 6.1-F2 | 3.2, 4, 6.1 |
| Every dataset comes from Grid Status through the API. Temperature is ERCOT’s hourly temperature by weather zone and gas is the EIA Henry Hub daily spot price, both hosted by Grid Status. Open-Meteo and FRED are dropped | Owner decision. One source means one key, one manifest format, one timezone convention and one request budget to manage | Owner decision | 5.1, 6.1, 6.2, 7.1, 7.2 |
| Temperature checks are explicit. The unit is asserted in °F, the vintage rule is recorded, the trial pull tests whether past hours are observed values, and both daylight saving days are checked for the dataset’s known repeated-hour defect | The temperature dataset is an ERCOT forecast product, so what its latest vintage means for a past hour has to be shown, not assumed. The dataset page itself warns about doubled values in the repeated DST hour | 6.1-F4, 7-F5 | 5.1, 6.1, 6.2 |
| A small runner and a run.json manifest are added | Four scripts do not by themselves give one ordered rebuild that stops on failure, and config.py alone cannot say which settings made an old output | 3-F4, 3-F5 | 3.1, 7.6 |
| Engine tests are deterministic. Frozen NCSS values, a noise-free quadratic and a HAC wiring check. The noisy recovery test is only a smoke test | Requiring every coefficient within one standard error fails most correct runs. For ten roughly independent estimates the pass rate is about 0.682710≈0.022 | 6.4-F7, 8-F1 | 6.4, 8 |
| The coding claim is corrected. Recoding keeps the fit but changes every coefficient, the eigenvalue sizes and what a coded support radius means | Version 3.1 said only the linear coefficients change | 6.4-F6 | 6.4, 9 |
| The bounded optimizer is replaced by the lowest and highest fitted values over observed factor combinations | A local optimizer over a patchy support region cannot certify an optimum | 6.4-F4 | 6.4 |
| Contour axes match each model’s factors. Support masking uses all three factors. If masking fails the fallback is an observed-day scatter, not an unmasked map | Version 3.1 drew the West zone surface on net-load axes it was not fitted on, and a two-factor mask ignores the held factor | 6.6-F1, 6.6-F2, 11-F6 | 6.6 |
| Smearing and slopes are qualified. Duan smearing assumes one error distribution. Stationary points are marked only when they lie on the plotted slice. Marginal effects use the coding chain rule and carry intervals | A pooled smearing factor cannot be right for every factor value, and a full-model stationary point is usually not on a slice | 6.6-F3, 6.6-F4 | 6.4, 6.6 |
| Interpretation wording. Transforms compress tails but do not change leverage. IMHR is a market ratio with no acceptance band. Normalized load can exceed 1. No hedge-effectiveness or post-RTC+B story is decided in advance | Each earlier statement was stronger than the evidence | 6.3-F5, 6.3-F6, 7-F4, 12-F3, 12-F4 | 6.3, 7.4, 12 |
| The schedule is rebased from October 3 with nothing built or pulled. About 38 hours, with 34 planned and 4 held as contingency | The earlier estimate already exceeded the remaining slots | 11-F3 | 11 |

## 1.2 What carries over from version 3.1

The review kept the core design. These choices still hold and are described in place. Four scripts with parquet files between them (D1). UTC as the only join key and a complete zone × hour grid with left joins (D2, D3). The study window October 1, 2025 to September 30, 2026 (D4). Four competitive load zones matched to forecast-zone load (D5, D6). Settlement point prices filtered to four locations at the server. The 10 a.m. day-before forecast vintage rule (D8), now used only in the optional phase. Daily aggregation (D10). A system model on the load-weighted spread, never stacked with the zones (D22). No forecast used as a factor (D23). The NCSS hierarchical search on a full quadratic, with the full quadratic used for inference (D31). Masked contours (D19). The descriptive between-zone table (D36). Early writing and a submission buffer (Section 11).

## 1.3 Earlier changes and their status in version 3.2

Version 3 and version 3.1 each had a change table. They are condensed here so the history stays visible without repeating claims that version 3.2 corrects.

| Earlier change | Version | Status in 3.2 |
| --- | --- | --- |
| One forecast vintage rule, the latest at or before 10 a.m. Central the day before | 3 | Kept. Now checked per operating hour rather than assuming one vintage per day |
| Gas mapped to the flow day | 3 | Kept as a labeled assumption with a same-date sensitivity |
| System model on the load-weighted spread instead of a pooled model | 3 | Kept, now second priority after the zones and on system load instead of net load |
| DA IMHR instead of RT IMHR, and a heat-rate surface | 3 | DA IMHR kept as a descriptive measure. Heat-rate surface cut |
| Representative spreads defined and a Key Findings section | 3 | Kept. The all-hours mean is now the main representative spread |
| Co-primary level and log SD responses | 3 | Kept, with the all-hours mean as the level response |
| Zonal load measures in the zone models | 3 | Kept, and the zone models are now the minimum |
| Explanatory and ex-ante surfaces, rolling folds and a Diebold–Mariano test | 3 | Ex-ante surfaces, folds and the test cut. All surfaces are explanatory |
| EWC standard errors and a HAC lack-of-fit test | 3 | EWC replaced by statsmodels Newey–West HAC. Lack of fit kept as a labeled cubic-extension test |
| Full quadratic for inference, reduced model descriptive | 3 | Kept |
| Min–max coding | 3 | Kept, with the invariance claim corrected |
| NCSS reference test with the search off, canonical analysis on the full quadratic | 3 | Kept, with frozen expected values |
| Engine on statsmodels, timeboxed | 3 | Kept, with a five-hour timebox and per-output release gates |
| RTC+B block in every model, a regime test and a battery-charging load adjustment | 3 | Block kept as a sensitivity control. Regime test and load adjustment cut |
| Temperature described as reanalysis, temperature forecast cut | 3 | Replaced. Temperature now comes from ERCOT’s weather-zone series on Grid Status, using the latest vintage for each hour |
| HSL-based net-load error as robustness | 3 | Cut. The meaning of the hosted HSL fields was not verified |
| Four scripts, known-answer test instead of a synthetic run | 3 | Kept, plus a small runner |
| Extensions cut to the event table, regime test and optional quantile surface | 3 | Event table kept in the optional phase. The rest cut |
| Schedule rebuilt around data access first | 3 | Rebased again from October 3 |
| West DART-basis response surface against the rest of ERCOT | 3.1 | Kept in the optional phase, as its own descriptive response |
| Claim that the basis regression equals a stacked test | 3.1 | Removed |
| West load, West wind forecast and West wind surprise as basis factors | 3.1 | Kept for the optional phase, read as associations |
| Descriptive between-zone table on the RT price basis | 3.1 | Kept as core |
| Shadow-price data not pulled | 3.1 | Kept |

# 2. Goals, requirements and constraints

## 2.1 What the system must produce

The assignment asks for one recent year of hourly or sub-hourly zonal prices and actual demand, temperature and natural gas matched as closely as possible, DA–RT spreads, representative spreads, zonal implied market heat rates and zonal load measures, response surface regression on the zonal data, and a report of at most ten pages due October 11, 2026. The table below separates what that requires from what is extra.

| Output | Priority | Used for |
| --- | --- | --- |
| A clean hourly panel for four load zones with DA and RT prices, actual load, temperature and gas, all from Grid Status, with coverage counts and source definitions | Required | Data section and every later step |
| Spreads, representative spreads (all-hours, on-peak, off-peak), zonal DA and RT IMHR and zonal load measures, with coverage counts | Required | The variables the assignment names |
| Level and volatility response surfaces for each of the four zones, with sequential sums of squares, conditional HAC tests, coefficients, shape and sample size | Required | Main results |
| A four-zone results table and one masked zonal contour figure | Required | Main results page |
| The ten-page PDF, every number checked against an output file | Required | Submission |
| The descriptive between-zone table (correlations and price basis by zone) | Core, cheap | Representative spread table |
| System level and volatility surfaces on system temperature and system peak load | Second priority | Context for the zones |
| One robustness refit, the zonal level surfaces on the weekday on-peak mean | Second priority | Shows the main result does not depend on the hours chosen |
| Optional phase. Three-factor zone models with the load forecast error, a load-weighted temperature check, a net-load system model, the West basis model and the event table | Only if you decide to extend | Section 6.7 |

Every main model uses only the five required datasets. The load forecast, weather-zone load, wind, solar and storage datasets are optional. They are not pulled on Sunday, no main model reads them, and they are pulled only if you decide to extend after the minimum deliverable is done (Section 6.7).

## 2.2 Quality requirements

| Requirement | What it means in practice |
| --- | --- |
| Correct | Times line up, zones line up, units are right, coverage is counted, no silent data loss |
| Honest timing | Every input is aligned to the time it describes. If the optional phase uses forecasts, only vintages published by 10 a.m. Central the day before are kept. No model in this plan is described as a forecast |
| Reproducible | One runner rebuilds every table and figure from a chosen raw snapshot and stops at the first failure |
| Traceable | Every number in the report traces to one output file, and run.json beside the outputs records the settings, decision IDs and input checksums that made it |
| Defensible | Every choice is written down with a reason, backed by your own data wherever possible |
| Trustworthy method | The engine reproduces frozen NCSS values and a noise-free known surface before it touches real data. Outputs that fail a check are left out of the report |
| Cheap | About 193,000 rows for the required pulls (about 254,000 if temperature comes one row per weather zone) against the advertised 500,000 a month, and a request count that fits the measured request limit with headroom [43] [44]. Both are estimates until the test pull |
| Fast to iterate | A target of a few minutes per rebuild, measured once the pipeline exists |

## 2.3 Constraints

| Constraint | Effect on the design |
| --- | --- |
| About 38 working hours from October 4 to October 11, alongside classes. Nothing is built or pulled yet | Simple tools, four scripts plus a runner, data risks first, zonal results protected, 4 hours of contingency, a hard cut list |
| Grid Status is the only data source, on its free API plan. Advertised limits are 500,000 rows and 250 requests a month and access to popular datasets only [43]. Page size depends on the plan [44] | Measure the real limits first, budget pages as well as rows, pull required data before enabled data, cache every pull with a manifest |
| No questions allowed to the reviewers | Every judgment call is recorded and justified |
| Report limit of 10 pages, references included | The page budget in Section 12 gives zonal results the space first |
| Data is observational, not a designed experiment | Collinearity, heavy tails, autocorrelation and model selection need handling, and results are associations |
| Some data is paywalled (regional gas, ERCOT Fuel Index Price) | Henry Hub for every zone, with the limitation stated |
| A market redesign (RTC+B) went live on December 5, 2025, inside the window [45] | An intercept block in every model as a sensitivity control. No regime test and no claim about its effect |

# 3. Architecture overview

Architecture of the pipeline in version 3.2. Four scripts run in order by a small runner. A shared regression engine, one configuration and a set of checks support them.

## 3.1 The shape of the system

The system is a batch pipeline of four scripts. Each script reads files written by the one before it and writes its own files. Nothing is shared in memory between scripts. They are the six logical steps of the work in four files, because each extra file and hand-off costs time that the analysis needs.

- ingest.py measures account access, then pulls the five required datasets and stores them unchanged with a manifest (Section 6.1). Optional datasets are pulled only with --optional. It is run on its own, never by the runner, so a rebuild never spends API requests.

- build.py turns raw data into one hourly table on a common time grid and zone list (align(), Section 6.2) and then builds every derived variable, hourly and daily (make_features(), Section 6.3). Two functions with the interim file between them keep the boundary without a fifth script.

- run_models.py fits the response surfaces in priority order and writes the tables (Sections 6.5 and 6.7).

- figures.py draws the exploration plots and the fitted surfaces (Section 6.6).

Alongside the scripts there are four shared parts.

- The runner (run_all.py, about 30 lines) runs build, models and figures in order on one chosen raw snapshot. It stops at the first failure and writes run.json only when every step succeeds, so figures can never be drawn from an older model run.

- The RSR engine (rsr.py) implements the NCSS response surface method on top of statsmodels. It knows nothing about electricity.

- The configuration (config.py, a plain dictionary) holds every setting. The reasons live in Section 9, and each setting carries the ID of its decision record. run.json ties a set of outputs to the exact settings, decision IDs, input checksums, package versions and code commit that produced them.

- The checks are the engine tests, the calendar and coverage fixtures and the data asserts in Section 8.

## 3.2 Data layers

Data moves through four layers. Each layer has one job and a fixed grain.

| Layer | Folder | Grain | Rule |
| --- | --- | --- | --- |
| Raw | data/raw/test, data/raw/full/<snapshot> | Whatever the source returns | Never edited. Written to a temporary file, checked, then renamed into place. Each file has a manifest. A refresh writes a new snapshot |
| Interim | data/interim | One row per zone per UTC hour | Aligned and cleaned, with coverage flags, no derived variables |
| Processed | data/processed | Hourly features, and one row per zone (plus the system) per local day | All variables the assignment asks for, with coverage counts |
| Outputs | outputs/<run id> | Tables, figures and run.json | Only things that go into the report or the repository appendix |

The reason for strict layers is that every mistake can be found by checking one layer at a time. If a number in the report looks wrong, you trace it back layer by layer until you find where it changed.

The raw manifest. Each raw file has a small JSON file beside it with the dataset id, every query parameter (dates, filters, publish-time rule, timezone, columns), the client version, the retrieval time, the row count, the file checksum and a status of complete. A cached file is reused only when its manifest matches the requested query and says complete. Any mismatch stops the run unless a refresh is asked for, and a refresh writes a new snapshot rather than overwriting the old one. Test pulls and full pulls live in different folders, so a one-week file can never stand in for the year.

## 3.3 Why a file-based batch pipeline

| Option | Pros | Cons | Verdict |
| --- | --- | --- | --- |
| One big notebook | Fast to start, easy to explore | Hidden state and out-of-order cells are a real risk, though running it top to bottom with nbconvert reduces it. Harder to review and to cache cleanly | Use only for exploration |
| Database (SQL) | Good for large or shared data | Setup time, overkill for about 200,000 rows | Not worth it here |
| Four scripts with parquet files between them, plus a runner | Each script re-runnable on its own, easy to inspect, one ordered rebuild, no setup | Slightly more structure up front | Chosen |

Parquet is used for every intermediate file because it keeps data types, is fast and is small. It stores timestamps as UTC instants. The original timezone comes back only because pyarrow also saves its own schema metadata by default [49], so the plan pins the pyarrow version, writes UTC-aware hour_utc columns plus an explicit local_date, and round-trips a sample covering both daylight saving days as a test. CSV is used only for the final tables you open by hand.

# 4. Design principles

These rules shape every script. Each one exists to prevent a specific kind of mistake.

| Principle | What it prevents |
| --- | --- |
| Raw data is immutable and identified. Every download is saved once with a manifest. A cache hit needs a matching, complete manifest. A refresh makes a new snapshot and each run names the snapshot it used | Losing the original, reusing a file made for a different query, wasting API requests |
| UTC is the only join key for time. Hour-ending sources are shifted to interval starts before joining. Local Texas time is only used to build features | Daylight saving bugs, a missing hour in March, a doubled hour in November |
| Build a complete grid first, then join onto it. Every zone × hour exists before data is attached. Each join declares its expected cardinality (validate=) and counts matches with indicator=True [50] | Rows silently disappearing, duplicate source keys multiplying rows, a full grid that hides empty sources |
| Settings in one place, reasons in another, a manifest linking them. config.py holds values, Section 9 holds reasons, run.json records which values made which outputs | Inconsistent choices across scripts, an output you cannot reproduce |
| Validate each method output before using it. The engine must reproduce frozen NCSS values, recover a noise-free surface and pass the HAC wiring check. An output that has not passed its check stays out of the report | Reporting results from a buggy implementation |
| Stop on structural errors, record missing data. Invalid keys, duplicate cardinality, a missing core column or a cache mismatch stop the run. Missing values are counted and reported. An optional input that is unavailable switches off the models that need it, by name | Wrong results that look fine, and also a strict check blocking the whole assignment over an optional input |
| Each step has one logical responsibility. Cleaning never builds features and modeling never cleans data. Separate functions are enough, not separate scripts | Logic spread across files, hard-to-find bugs |
| Keep information you might need later. For example, keep the intra-hour RT spread, the interval count and the partial-hour mean as a flagged diagnostic | Having to rebuild a step to answer a reviewer question |
| Timestamp every input by when it describes and, for forecasts, when it was published. Forecasts, used only in the optional phase, are kept only if published at or before 10 a.m. Central the day before. The gas lag is a labeled assumption. No model in version 3.2 claims to use only information known before the market closed | Look-ahead bias, and claims about timing the data cannot support |
| If out-of-sample scores are ever added, fit every learned setting on training days only. That includes the selected formula, normalizing percentiles and the asinh median and MAD | Leaking the test period through the model’s settings. Version 3.2 has no out-of-sample scoring, so this is a rule for future work |
| Prefer your own evidence, and cite sources for methods. If a choice can be justified with a number or a plot from your data, use that. Method departures still get a reference | A report that reads as literature-driven rather than your own judgment |

# 5. Data design

## 5.1 Raw layer

| Source | Dataset | Content | Pull rule | Priority | Approx. rows |
| --- | --- | --- | --- | --- | --- |
| Grid Status | ercot_spp_day_ahead_hourly | Day-ahead settlement point prices (column spp) | Four LZ_ locations with filter_column="location", filter_operator="in" | Required | 35,040 |
| Grid Status | ercot_spp_real_time_15_min | Real-time settlement point prices, every 15 minutes | Same filter, pulled in four quarterly chunks | Required | 140,160 |
| Grid Status | ercot_load_by_forecast_zone | Actual load by forecast zone, plus a total column | Whole year | Required | 8,760 |
| Grid Status | ercot_temperature_forecast_by_weather_zone | ERCOT hourly temperature in °F for the eight weather zones. Published daily at 5 a.m., each file covering 2 a.m. three days before publication to nine days after | publish_time="latest", so each hour gets the last file that covers it, published up to about three days after the hour | Required | 8,760 (70,080 if one row per weather zone) |
| Grid Status | eia_henry_hub_natural_gas_spot_prices_daily | EIA Henry Hub daily spot price by observation date. Refreshed weekly, no weekends or holidays | Whole year, spot column only | Required | about 250 |
| Grid Status | ercot_load_forecast_by_forecast_zone | Day-ahead load forecast by forecast zone | publish_time="latest_before:-1 day@10:00:00" | Optional | 8,760 |
| Grid Status | ercot_load_by_weather_zone | Actual load for the eight weather zones | Whole year | Optional | 8,760 |
| Grid Status | ercot_wind_actual_and_forecast_hourly (confirm the exact id in the test pull) | System and load-zone wind forecast (STWPF) and actual output (GEN) | Forecast with latest_before, actuals with publish_time="latest" | Optional | 17,520 |
| Grid Status | ercot_solar_actual_and_forecast_hourly (same note) | System solar forecast (STPPF) and actual output | Same as wind | Optional | 17,520 |
| Grid Status | ercot_energy_storage_resources | System battery charging and discharging | resample="1 hour" | Optional | 8,760 |

Every dataset comes from Grid Status through its Python client, so there is one API key, one manifest format and one request budget. Only the five required datasets are pulled on Sunday. Optional datasets are pulled only in the optional phase (Section 6.7), and no main model reads them. All calls pass timezone="market", so plain dates are read in Central time and returned timestamps are timezone-aware [28]. Downloads are trimmed to exact local days in the build step. Row counts are expected values for a complete year, not measured usage.

Request budget. Rows are not the only limit. The free plan currently advertises 250 API requests a month alongside 500,000 rows, the client pages through large results one request at a time, and the page size depends on the plan [43] [44]. So the plan budgets requests too. As an illustration only, with 1,000-row pages the required pulls (DA, RT, load, temperature, gas) need 36 + 141 + 9 + 9 + 1 = 196 requests, a few more with RT in four chunks, plus about 6 for a one-week trial of the same five datasets. That leaves about 48 of 250 for retries and any later optional pulls. Two things could break this. If the temperature dataset comes as one row per weather zone per hour it costs about 71 requests instead of 9, and the required pulls alone would need about 258. The fallback then is to ask the server for hourly RT averages (resample="1 hour"), which cuts RT from about 141 requests to about 36, and to check the four-interval rule on one month of 15-minute data instead of the whole year. The optional datasets need another 9 + 9 + 18 + 18 + 9 = 63 requests, so they may have to wait for the monthly reset. Account limits come from client.get_api_usage() before anything else is pulled.

Temperature. The temperature dataset is ERCOT’s own weather-zone product, in °F [31]. Each daily file starts three days before its publication date, so with publish_time="latest" every hour in the window gets a value published up to about three days after it. Those past-hour values are probably ERCOT’s observed temperatures, but the dataset page does not say so. The trial pull therefore also fetches every vintage for a two-day window (about one request) to see whether a past hour’s value stops changing once the hour has passed. If it does, the report calls the series observed. If not, it calls it ERCOT’s latest after-the-fact estimate. The page also warns of wrong timestamps and doubled values in the repeated hour when daylight saving ends, so both DST days are checked by hand. By October 4 the files covering September 30 are already published, so no late re-pull is needed.

Gas. The EIA Henry Hub dataset on Grid Status is refreshed weekly and skips weekends and holidays [30]. The last days of September may arrive only with the refresh after September 30, so the gas file is re-pulled on Thursday, October 8 into a new snapshot. It costs about one request.

## 5.2 Interim layer — the hourly panel

Grain is one row per zone × UTC hour. Primary key is (zone, hour_utc), where hour_utc is the start of the hour. For October 1, 2025 to September 30, 2026 that is exactly 4 × 8,760 = 35,040 rows. The window has one 23-hour day (March 8, 2026), one 25-hour day (November 2, 2025) and no leap day. System-level columns repeat the same value in every zone. Every column has a declared unit in the configuration.

| Column | Unit | Meaning | Comes from |
| --- | --- | --- | --- |
| zone | — | LZ_HOUSTON, LZ_NORTH, LZ_SOUTH, LZ_WEST | grid |
| hour_utc | timestamp (UTC-aware) | Start of the hour | grid |
| local_date, expected_hours | date, count | Central-time operating day and its calendar length (23, 24 or 25) | grid |
| da_price | $/MWh | Day-ahead settlement point price | DA prices |
| rt_n | count | Number of distinct 15-minute intervals found in the hour | RT prices |
| rt_complete | flag | True when all four distinct quarter-hours are present | RT prices |
| rt_price | $/MWh | Mean of the four 15-minute prices. Empty unless rt_complete | RT prices |
| rt_price_partial | $/MWh | Mean of whatever intervals exist. Diagnostic only, never a model input | RT prices |
| rt_intrahour_sd | $/MWh | Standard deviation of the four RT prices (complete hours only) | RT prices |
| load | MW | Actual load for the matching forecast zone, as published | load |
| load_fcst, load_fcst_publish, sys_load_fcst | MW, timestamp | Optional phase only. Day-ahead load forecast and its publish time, latest vintage at or before 10 a.m. Central the day before | load forecast |
| sys_load | MW | Sum of the four forecast zones. Empty if any zone is missing | load |
| storage_charge | MW | Optional phase only. System battery charging, descriptive only | storage |
| wind, wind_fcst | MW | Optional phase only. System wind output and day-ahead forecast | wind |
| wind_west, wind_west_fcst | MW | Optional phase only. West load-zone wind output (GEN LZ WEST) and its day-ahead forecast (STWPF LZ WEST, same vintage rule). Same pull, no extra rows. Used only by the West basis model | wind |
| solar, solar_fcst | MW | Optional phase only. System solar output and day-ahead forecast | solar |
| temp | °F | Equal-weight average of the ERCOT weather zones mapped to this load zone (Section 6.2). Used by every main model | temperature |
| temp_lw | °F | Optional phase only. The same average weighted by each weather zone’s share of annual load, as a sensitivity | temperature, weather-zone load |
| temp_range | °F | Max minus min across the mapped weather zones. Empty for Houston, which maps to one weather zone. Descriptive only | temperature |
| temp_n, temp_dst_fix | count, flag | Weather zones present this hour, and a flag for a repaired DST hour | temperature |
| gas_price | $/MMBtu | EIA Henry Hub spot price under the assumed lag rule. Flow day F takes the last observation dated strictly before F | gas |
| gas_obs_date | date | The observation date used, so the rule can be checked | gas |
| gas_price_same | $/MMBtu | Henry Hub price observed on the operating day itself (carried forward over weekends), for the sensitivity | gas |

Hourly wind and solar HSL columns arrive in the same pull and are kept in the raw file, but no feature uses them. ERCOT describes COP HSL as a forecasted uncurtailed potential, so treating it as observed available output would need the historical field definitions checked first [53].

## 5.3 Processed layer — hourly features

The hourly panel plus these columns.

| Column | Definition |
| --- | --- |
| hour_ending, weekday, month | From Central time. Hour ending is local hour plus one |
| onpeak | Weekday and hour ending 7 to 22. All other hours are off-peak. Weekends have no on-peak hours |
| spread | S=PDA−PRT. Empty when rt_price is empty |
| abs_spread | ¦S¦ |
| sys_spread | Load-weighted average of the four zone spreads, St=z​wz,tSz,t with wz,t=Lz,t/z​Lz,t. Built once per UTC hour and only when all four zones have a spread and a load |
| imhr_da, imhr_rt | Price divided by the gas price, in MMBtu/MWh. Henry-Hub-based. Negative and extreme values are kept. Empty only when gas is at or below $0.50 |
| load_norm | Load divided by the zone’s 99.5th percentile of hourly load over the window. A multiple of reference load, so values above 1 are valid and never clipped. The reference value is saved |
| fe, fe_pct | Optional phase only. Load minus forecast in MW and in percent of forecast, on hours where both exist |
| cdd_h, hdd_h | Hourly degrees above and below 65°F |
| net_load, net_load_fcst | Optional phase only. System net load N=L−W−S (system load minus wind minus solar) and the same from the forecasts. This is the demand left for dispatchable and other resources, not the only driver of price [2] |
| nfe | Optional phase only. Net-load forecast error nfe=N−N/Np99.5, scaled by a fixed level rather than by net load itself |
| rt_basis, da_basis | Price basis of each zone against the load-weighted average of the other three, in RT and in DA. Descriptive only (D36) |
| spread_rest, west_basis | Optional phase only. Srest,t is the load-weighted spread of Houston, North and South with weights renormalized over those three, and Bt=SWest,t−Srest,t |

## 5.4 Processed layer — the daily modeling table

Grain is one row per zone × local day, plus one row per day for SYSTEM. Primary key is (zone, local_date). That is 5 × 365 = 1,825 rows, but 365 rows per zone is the calendar, not the sample. Each model reports the number of days that actually pass its coverage rule. The zone rows feed the zone models and the SYSTEM rows feed the system model. The two are never stacked in one regression.

| Group | Columns |
| --- | --- |
| Coverage | expected_hours (23, 24 or 25), n_spread_hours (hours with DA and a complete RT price), complete_day, n_onpeak_expected, n_onpeak_valid, and for each factor the hours it was built from |
| Representative spreads (level responses) | spread_mean (all-hours mean, main level response, defined every day), spread_onpeak_mean (weekdays only, missing on weekends, robustness), spread_offpeak_mean |
| Spread volatility | spread_sd (sample SD, ddof = 1), log_spread_sd (main volatility response), spread_abs_max, rt_intrahour_sd_mean |
| Price levels | da_mean, rt_mean, rt_sd |
| Heat rates | gas_price, gas_price_same, imhr_da_mean, imhr_rt_mean. Descriptive only |
| Load (zone factors) | load_mean, load_peak, load_peak_norm (main factor), load_factor (descriptive) |
| System factors | sys_temp, sys_load_peak_norm |
| Optional phase only | fe_pct_mean (signed), fe_pct_rms, temp_lw_mean, netload_peak_norm, nfe_mean, nfe_rms |
| Temperature | temp_mean, temp_max, temp_min, cdd, hdd (°F·day), temp_range_mean |
| Between-zone (optional phase only) | west_basis_mean, west_basis_sd, west_load_peak_norm, west_wind_fcst_norm, west_wind_surprise |
| Flags | month, weekday, post_rtcb (December 5, 2025 onward) |

Coverage rule. A day enters a model only if every expected local hour has a spread, which means a DA price and an RT price built from four distinct intervals, and only if the model’s factors are present for every hour they summarize. In the optional phase, forecast errors are computed on hours where both the actual and the forecast exist, and the daily error needs all expected hours. Days that fail stay in the table with complete_day = False and are counted in the Data section. If more than about 5% of days fail for a response, the report adds a sensitivity that uses partial days and says so. The fixed 23-hour threshold from version 3.1 is gone, because it let a normal day lose its spike hour and still pass.

How the SYSTEM row is built. System series are built once per UTC hour from the four zones, never by summing repeated system columns. A system hour needs all four zones. The daily system spread is the equal-hour mean of the hourly load-weighted spreads, and the report labels it that way, because an energy-weighted daily mean would answer a different question. System temperature is the average of the four zone temperatures weighted by each zone’s share of annual load, with the weights saved.

The weekday on-peak sample. Between October 1, 2025 and September 30, 2026 there are 261 weekdays and 104 weekend days. The on-peak mean exists only on weekdays, so its models have at most 261 observations before any coverage loss. Weekend values stay missing and are never set to zero. That is why the all-hours mean is the main level response.

Logs and scales. The log of SD needs SD > 0. With one spike of size a in 24 hours the sample SD is about a/24, so log SD is close to a spike indicator on spike days. Leverage and Cook’s distance show which days drive the fit. A day with SD = 0 has its log left empty and is counted. The asinh standardization needs a positive MAD of the model sample. The run asserts both and stops with a message if either fails.

Units for effects. Degree days are in °F·day. Peak loads enter normalized, and marginal effects are converted back to $/MWh per °F and per GW, where 1 GW is 1,000 MW.

## 5.5 Outputs

| Output | One row or file per | Priority | Purpose |
| --- | --- | --- | --- |
| Representative spread table | Zone, plus system | Required | All-hours, on-peak and off-peak means with mean, median, SD, 5th and 95th percentiles, share of days with DA above RT, and the number of days each statistic uses |
| Between-zone columns | Zone | Core | Correlation of each zone’s daily spread with the system spread, the first principal component’s share of variance, and the RT and DA price basis (mean, 5th and 95th percentiles, share of hours with an absolute basis above $5 and $20). Merged into the representative spread table (D36) |
| Four-zone results table | Model | Required | n, factors, HAC lag, R2, adjusted R2, terms kept by the search, cubic-extension test, shape label, lowest and highest fitted values over observed days |
| Sequential sums of squares | Model | Required | Descriptive split of explained variation into block, linear, quadratic and interaction groups, entered in that order. No p-values in this table |
| Conditional HAC tests | Model | Required | Wald tests in the full quadratic that each group’s coefficients, and each factor’s terms, are zero. Labeled approximate |
| Coefficient table | Model | Required | Full-quadratic coefficients with HAC standard errors |
| Marginal effects | Model | Required | ∂y/∂T and ∂y/∂load at a mild, a hot and a cold observed day, in $/MWh per °F and per GW, with approximate intervals |
| Selection history | Model | Saved only | Which terms the NCSS search removed, in machine-readable form for the repository |
| Diagnostics | Model | Required | VIF, condition number, rank, leverage, Cook’s distance, residual plots, residual autocorrelation |
| System and robustness rows | Model | Second priority | Same columns as the four-zone table |
| Optional-phase rows and the event table | Model | Only if you extend | Section 6.7 |
| run.json | Run | Required | Resolved settings, decision IDs, raw snapshot and checksums, package versions, code commit, seeds |
| Figures | Figure | As in 6.6 | Report figures |

# 6. Step-by-step design

Each step below lists its responsibility, inputs and outputs, the key design choices with the alternatives that were rejected, and the checks that close the step.

## 6.1 Step 1 — Ingest (ingest.py)

Responsibility. Find out what the account can actually pull, then get the five required datasets onto disk once, within the row and request limits. Optional datasets are pulled only by a separate --optional run after you decide to extend.

Inputs. Study period, zones, the weather-zone mapping and pull priorities from the configuration. API key from an environment variable.

Outputs. Raw parquet files in data/raw/full/<snapshot>, one manifest per file, and an access.json with the measured account limits and dataset access.

Key design choices

| Choice | Alternatives | Why this one |
| --- | --- | --- |
| Measure access first. Call get_api_usage() and record the request limit, row limit, rows per response and reset date. Check that each dataset is accessible and that its history covers October 2025 | Trust the pricing page | The pricing page does not say what this account can reach or the page size, and both decide whether the plan fits [43] [44] |
| A one-week test pull of each required dataset into data/raw/test, recording rows and requests used | Go straight to the full pull | Confirms dataset ids, column names, units and the real cost per request before spending the budget |
| Required datasets only (DA, RT, load, temperature, gas) on Sunday. Optional datasets (load forecast, weather-zone load, wind, solar, storage) only with --optional, after you decide to extend, and only while about 15% of requests remain | Pull everything at once | The main models never read optional data, so an entitlement or quota problem with it cannot block the assignment |
| Cache with identity. Each file is written to a temporary name, checked against its manifest and then renamed with os.replace. Reuse needs a matching, complete manifest | Skip the download if the file exists | A file that exists may be a test week or an old query, and a half-written file must never look complete |
| Pull RT in four quarterly chunks, each saved and manifested on completion | One call for the year | The client keeps pages in memory until a call finishes, so a failure loses the whole call. Chunks limit the loss to one quarter for a few extra requests |
| Filter prices by location on the server, all four zones in one call | Download everything and filter locally | Unfiltered RT data is millions of rows |
| timezone="market" on every Grid Status call | Pad dates by a day and trim later | Dates are read in Central time, which removes padding and boundary confusion |
| Settlement point prices, which already include the RT adders | LMPs, or pull the adder dataset to check | Settlement point prices are what load pays on both sides of RTC+B [23]. One sentence in the report covers the adder change |
| Optional phase. Day-ahead forecasts with publish_time="latest_before:-1 day@10:00:00" | A 7 to 9 a.m. window, all vintages, the latest forecast | Grid Status documents this exact recipe for the bid-close forecast [28]. It picks the latest qualifying publication for each operating interval, so different hours of the same day may come from different reports. The code asserts one row per operating hour and a publish time at or before 10 a.m. Central the day before, row by row, and logs the publish times |
| Optional phase. Wind and solar forecasts with the same rule, actuals with publish_time="latest" | Skip renewables | Needed only for the net-load system model and the West basis model |
| Optional phase. Storage only if requests remain | Always pull it | Without a zonal load adjustment it is descriptive only (D26) |
| Temperature from Grid Status’s ERCOT weather-zone dataset with publish_time="latest", plus a two-day all-vintage check in the trial | Open-Meteo reanalysis, a day-ahead temperature vintage | Keeps every input on one source. The latest vintage is the closest Grid Status offers to an observed value, and the trial shows how close [31]. No earlier forecast vintage is used (D23) |
| Henry Hub from Grid Status’s EIA daily spot dataset, with the retrieval time recorded | FRED, regional hubs | Same underlying EIA series on the same source as everything else. No free daily Texas hub history was found, so Henry Hub is used for every zone and the limitation is stated. A downloaded history shows today’s values, not what was known on each past date [30] |
| API key in an environment variable, data/ and .env in .gitignore | Key in code | Keeps the key and raw Grid Status data out of the public repository |

Row and request budget. The required pulls are about 35,040 DA rows, 140,160 RT rows, 8,760 load rows, 8,760 temperature rows (70,080 if one row per weather zone) and about 250 gas rows. That is about 193,000 rows for a complete year, or about 254,000 with long-format temperature, plus about 3,700 for a one-week trial. The optional datasets would add about 61,000 rows (8,760 load forecast, 8,760 weather-zone load, 17,520 wind, 17,520 solar and 8,760 storage). Requests are computed as the sum over datasets of the rows divided by the measured page size, rounded up, plus the trial, plus about 15% headroom for retries and metadata. Binding-constraint shadow prices are not pulled (D36).

Failure modes and handling. A failed call keeps nothing, so it is re-run from its chunk. A required file missing or incomplete stops the build with a clear message. A missing optional file only affects the optional item that needs it, since no main model reads optional data. If latest_before returns nothing for some operating hours, those hours stay empty and are counted. The rule is never widened to a forecast published after 10 a.m.

Exit checks. access.json saved. Every required file has a complete manifest. Only four zones appear in the price files. Usage after the full pull is recorded next to the estimate. Temperatures are in °F for all eight weather zones, and the all-vintage check result is written down. The gas file is flagged for the Thursday re-pull. In the optional phase, every forecast row must also pass the publish-time check.

## 6.2 Step 2 — Align (build.py, align())

Responsibility. Turn the raw sources into one hourly table on a common time grid and zone list, with coverage made visible.

Inputs. One named raw snapshot. Output. The hourly panel.

How it works

- Build the complete grid. Every local hour from October 1, 2025 up to but not including October 1, 2026 is generated in Central time and converted to UTC. That gives exactly 8,760 hours, from 2025-10-01 05:00 UTC to 2026-10-01 05:00 UTC, with March 8, 2026 23 hours long and November 2, 2025 25 hours long. The two 1 a.m. hours on November 2 become 06:00 and 07:00 UTC. The grid is repeated for each of the four zones.

- Bring each source to the same grain (zone × UTC interval start). Hour-ending timestamps are shifted to interval starts first.

- Left-join every source onto the grid with a declared cardinality and a match indicator.

- Print a quality report with coverage for every source and column.

Key design choices

| Choice | Alternatives | Why this one |
| --- | --- | --- |
| Generate the grid from local time, store in UTC, end bound exclusive | Generate in UTC | Guarantees the study period matches the local calendar year exactly |
| Left-join onto the grid with validate and indicator | Inner join, or a plain left join | A left join keeps missing hours as counted empty values. Cardinality validation catches duplicate source keys that would multiply rows. A full grid alone does not show that a source arrived |
| RT hourly price as the mean of four distinct quarter-hour prices. An hour with fewer than four has no rt_price. A duplicate quarter-hour stops the run | Mean of whatever intervals exist | ERCOT settles RT prices every 15 minutes [54]. For a flat 1 MW hourly position the cost is k​Pk×0.25 MWh, so the four-price mean is the right comparison with DA. Losing one interval can change the answer a lot. Prices of [0, 0, 0, 1000] average $250/MWh, but $0/MWh without the last one. The partial mean is kept only as a flagged diagnostic |
| Keep the intra-hour RT SD and the interval count | Drop them | A free sub-hourly volatility measure and the coverage record |
| Match load by forecast zone | Weather zones, or system total | Forecast zones (North, South, West, Houston) line up roughly with the four price load zones. Municipal and co-op zones sit inside them, so the match is approximate |
| System load as the sum of the four forecast-zone loads, only when all four exist | A separate system load series | Keeps zones and system on one definition, and a missing zone cannot quietly shrink the system |
| Zonal load stays as published. No battery-charging adjustment. The RTC+B block in every model absorbs an additive shift, and the report states the definition change | Subtract system charging from every zone | Until December 5, 2025 real-time load included battery charging [11]. Only system charging is available, which is one equation for four unknown zonal amounts. Subtracting it from every zone would remove four times the total. Grid Status’s own evidence compares real-time load with settlement load, not raw load with charging, so the planned one-for-one check would not have tested the right thing |
| Optional phase. Forecast vintage rule enforced in code, per row | Trust the API call | So no forecast made after the close can slip in |
| Zone temperature from ERCOT weather zones. Houston uses Coast. North uses North, North Central and East. South uses South Central and Southern. West uses West and Far West. Each group is an equal-weight average | One weather zone per load zone, or load weights | Weather zones are ERCOT’s climate regions and do not line up with load zones, so the mapping is approximate and is shown in the Data section’s mapping table. Equal weights need no extra data. A load-weighted version, which puts more weight where demand is, is an optional-phase sensitivity. If a weather zone is missing the remaining ones are averaged and the hour is flagged |
| Keep the range across a load zone’s weather zones | Only the average | A coarse measure of how much temperature differs inside a load zone. It does not exist for Houston and is descriptive only |
| Repair the repeated DST hour only if it is broken | Trust the timestamps | The dataset page warns of wrong repeated-hour timestamps and doubled values. If the two November 2 1 a.m. values are broken, both are set to the mean of the neighboring hours and flagged. One day per zone is affected |
| Gas under a labeled lag assumption. Flow day F takes the Henry Hub observation dated strictly before F, carried forward over weekends and holidays. A same-date version is kept for a sensitivity | Treat the lag as a verified source convention | The EIA page cited in version 3 defines futures contracts, not the delivery mapping of the daily spot series [30]. Gas days also start at 9 a.m. Central, so the first nine hours of an electrical day belong to the previous gas day [46]. No exact hourly alignment is claimed. The report calls the gas input a daily Henry Hub proxy and shows whether results move between the two versions |
| Find columns by name from a list of candidates, case-insensitive, and stop with a clear message if none match | Hard-code exact names | Column names can differ slightly. Units are checked separately, because a matching name does not prove a matching meaning |

Exit checks. 8,760 hours for every zone, unique keys, one-hour spacing and local day lengths of 25 on November 2 and 23 on March 8. A coverage table for every source and column. The count of complete RT hours by zone and month. Merge cardinality checks pass. Temperatures in °F and within a plausible Texas range, with both DST days inspected and any repair flagged. The gas observation date is before the flow day under the assumed rule. Hand-traced against the raw files are one normal summer hour, both November 2 1 a.m. hours, and the hour after the March 8 jump.

## 6.3 Step 3 — Features (build.py, make_features())

Responsibility. Build every variable the assignment asks for, first hourly and then daily, with coverage carried forward.

Inputs. Hourly panel. Outputs. Hourly features and the daily modeling table.

Key design choices

| Choice | Alternatives | Why this one |
| --- | --- | --- |
| Spread defined as DA minus RT | RT minus DA | Standard convention. Positive means buyers paid a day-ahead premium |
| System spread as the load-weighted average of the four zone spreads, hour by hour, then an equal-hour daily mean | Hub average, or an energy-weighted daily mean | Weighting by load gives the spread the average megawatt-hour of load faced in that hour. The daily mean is labeled as an equal-hour mean of hourly load-weighted spreads. The hub average is a fallback |
| All-hours daily mean as the main representative spread and level response, with on-peak and off-peak means beside it | Weekday on-peak mean as the main response | The all-hours mean exists on every day, so weekend stress days stay in the sample. On-peak exists on 261 weekdays at most. Showing all three still answers “representative spreads” literally |
| IMHR as price over gas, Henry-Hub-based, kept for both DA and RT, descriptive only | Use DA IMHR as a model factor or response | IMHR is a market ratio, not a plant efficiency [48]. Negative and very high values are valid and are investigated rather than rejected. DA IMHR shares the DA price with the spread, since S=g⋅IMHRDA−PRT, so it is not an independent tightness measure. With one national gas price, zonal IMHRs differ only by zonal power price, and the report says so |
| Normalize load by the zone’s 99.5th percentile | Max, or z-score | The max is one extreme hour, so a high percentile is more stable. Values are multiples of reference load and can exceed 1. Clipping would erase the stress days the surface studies |
| Optional phase. Load forecast error in percent, on matched hours | In MW | Percent is comparable across zones of very different size |
| System peak load as the main system factor. Net load N=L−W−S only in the optional phase | Net load in the main model | System load needs only required data. Net load is the demand left for dispatchable and other resources, and the market monitor ties many 2025 spikes to the evening net-load ramp [2], so it is the first system extension if you extend |
| Optional phase. Net-load forecast error scaled by the 99.5th percentile of net load | Percent of net load | Net load gets small on mild sunny middays, so a percent would explode |
| Optional phase. Daily RMS of the forecast error for volatility models, daily signed mean for level models | One summary for both | RMS cannot cancel opposite errors. Errors of +10 and −10 have mean 0 but RMS 10. The sign says which way RT moves against DA [4] |
| Raw daily SD (ddof = 1) as the main volatility measure | Deseasonalized SD | Easier to explain. It includes the predictable intraday shape, so the report calls it within-day spread dispersion, not innovation volatility |
| Two factors in the main models, daily mean temperature and normalized daily peak load | A third forecast-error or gas factor | The classic temperature × load surface uses only required data, has 6 terms instead of 10 and can be drawn in full as one contour map. Forecast surprises are added only in the optional phase |
| Degree days with a 65°F base | Other bases | Industry standard. Raw temperature is also kept because the quadratic captures the U-shape directly |
| Daily aggregation as the main unit | Hourly | See D10. Day-to-day persistence remains and is handled by the HAC errors (D17) |
| Flags built here | Build them in the model step | Keeps all variable definitions in one place |

Cut from version 3.1. The HSL-based error (the field meaning is unverified), the deseasonalized SD, log IQR, the evening ramp and the robustness rows built on them. They are in the future-work list in Section 6.7.

Exit checks. Model-specific day counts reported, including the on-peak count of at most 261. The pairwise correlation of zonal spreads computed from your own data and written down. Values above 0.9 were reported for 2018 to 2025 [3], but your number is the one to report. The minimum daily SD and the number of SD = 0 days. IMHR departures from a typical range listed and investigated, not removed. The share of days with load_peak_norm above 1. Spread size before and after December 5 recorded as a descriptive observation, not an exit check.

## 6.4 The RSR engine (rsr.py)

Responsibility. Implement the NCSS response surface method as a general tool. It takes a table, a response, a list of factors and optional block terms. It returns the fitted full quadratic, the NCSS-reduced model, the sequential sums of squares, the conditional HAC tests, the cubic-extension test, the canonical analysis, marginal effects, the fitted-value range over observed days and diagnostics.

Why build it instead of using a package. NCSS is commercial software. statsmodels fits the regressions and the HAC covariance, so the engine is built on top of it. The NCSS hierarchical search, its term grouping and the canonical analysis need custom code, about 200 lines. R’s rsm package does canonical analysis and lack of fit but not the NCSS search [21]. In the report, say it was “built in Python to match NCSS’s hierarchical search and validated on the NCSS Odor example,” not that no package exists.

Internal parts and their design

| Part | What it does | Design choice and reason |
| --- | --- | --- |
| Coding | Maps each factor to −1,1 with min–max coding on the data used for the fit, and freezes the coding with the fit | For a hierarchical polynomial an affine recoding does not change the fitted values, residuals, R2, the sequential group sums of squares, predictions or the search path. It does change every coefficient. For example y=x2 becomes y=4u2 when u=x/2, and in general B becomes D′BD. Eigenvalue signs survive, their sizes do not. A support radius in coded units also covers a different physical region if the coding changes. So coding is presentational for the fit but not for masks and ridge labels. NCSS does not code factors itself. The Odor data are supplied already coded [1] |
| Term representation | Each term is a list of exponents, one per factor | Makes “child of” and “parent of” simple comparisons, which is what hierarchy needs |
| Hierarchy rule | A term can only be removed if no remaining term contains it | Keeps every model hierarchical, as NCSS requires |
| Model search | Backward elimination. Remove the removable term with the smallest R2 loss while that loss is below 0.01 | This is the NCSS algorithm and default cutoff [1]. The result is the descriptive model. The cutoff measures in-sample fit lost, not whether curvature exists. If R2 is near 0.3 with 365 rows, a 0.01 loss corresponds to an F of about 5 |
| Inferential model | The full quadratic (6 terms for the two-factor main models, 10 for three factors) plus block terms | p-values on a model chosen by the same data are too optimistic [19]. If the search strips curvature, the descriptive model is reported as having little in-sample curvature, and the full quadratic is still shown |
| Block terms | A post-RTC+B intercept, entered first and never removed by the search | A sensitivity control for an additive shift at December 5, 2025. It cannot separate the redesign from season, because the pre-period is only October 1 to December 4 (D33) |
| Sequential sums of squares | Fits nested models in the order block, linear, quadratic, linear × linear and records each group’s added sum of squares, computed directly from residual sums of squares | Same grouping and order as NCSS, so the table looks like the reference. Descriptive only. No p-value sits in this table, because a sequential row and a full-model test answer different questions. For x=0,…,4 and y=x2 the linear row adds 160 while the linear coefficient in the full quadratic is zero |
| Conditional tests | HAC Wald tests in the full quadratic that a group’s coefficients are zero (all linear, all quadratic, all interaction), and that every term containing a factor is zero | Answers “does this group or factor matter given everything else.” Labeled full-model conditional tests with approximate p-values |
| Lack of fit | First count exact repeated factor combinations. With enough repeats, the NCSS pure-error test. Otherwise a HAC Wald test of the cubic terms added to the full quadratic, after checking the augmented design has full rank. For the two-factor main models that is four terms (x13, x23, x12x2, x1x22), which is the complete cubic. For three factors it is nine terms | NCSS’s test needs exact repeats [1], which daily data will rarely have. With three factors the extension leaves out x1x2x3, so it cannot see a departure only in that direction. A non-significant result is not proof the quadratic is adequate. The test is labeled as a departure from NCSS (D16) |
| Standard errors | sm.OLS(...).fit(cov_type="HAC", cov_kwds={"maxlags": L, "use_correction": True}, use_t=True) with the Bartlett kernel and L=⌈1.3T ⌉, which is 25 for 365 days and 22 for 261 days. Rows are sorted by date | Daily spread volatility is persistent, so plain OLS errors are too small. The lag length follows the Lazarus–Lewis–Stock–Watson recommendation for Newey–West [9]. They pair it with fixed-b critical values, while statsmodels uses ordinary t and F references [51], so the p-values are approximate and may be somewhat too small when persistence is strong. The report says so and leans on effect sizes and intervals rather than sharp thresholds. Days dropped by the coverage rule leave gaps that the estimator treats as adjacent rows. The number of gaps is reported per model |
| Canonical analysis | Builds b and B from the full quadratic, solves xs=−12B−1b, eigen-decomposes B and labels the shape | Run on the full quadratic, because a reduced model can make B singular. Maximum, minimum and saddle labels depend only on eigenvalue signs. If the smallest absolute eigenvalue is below a declared tolerance relative to the largest (0.05 by default), the shape is reported as a ridge and xs is not reported. Ridge labels and eigenvector directions depend on the coding. Canonical analysis is standard response surface practice added on top of the NCSS chapter |
| Inside the data | A coded point counts as inside the data if an observed day lies within a fixed radius of it in all of the model’s coded factors, found with scipy.spatial.cKDTree | The −1,1 box is the wrong test, because observed days fill only a band of it. The radius (0.15 coded units by default) and its sensitivity (0.10 and 0.20) are reported. The same rule drives contour masking (D19) |
| Fitted range | The lowest and highest fitted values over the observed factor combinations, with their dates | Replaces the constrained optimizer. A local optimizer over a patchy support region cannot certify an optimum, while the observed-day range is exact and easy to explain. For a volatility response the low end is the calmest conditions actually seen and the high end the riskiest |
| Marginal effects | ∂y/∂xk at a mild, a hot and a cold observed day, converted to $/MWh per °F and per GW | Uses the coding chain rule. With z=2q−a/b−a−1, a coded slope is multiplied by 2/b−a, MW is converted to GW, and for the log model the smeared back-transform multiplies by the fitted SD. Approximate delta-method intervals use the HAC covariance. These are slopes, not elasticities |
| Diagnostics | VIF and condition number on all coded terms (five for two factors, nine for three), design rank, leverage and Cook’s distance, residuals against fitted values and against time, residual autocorrelation, normal probability plot | Peak load is U-shaped in temperature, so T2 and load can be nearly collinear even when T and load look fine [10]. Leverage depends only on the design. Cook’s distance also uses residuals. The normal probability plot checks normality, which the HAC fit does not need [52] |
| Implementation | sm.OLS on an explicit design matrix. Custom code for terms, hierarchy, search, grouping, canonical analysis and the fitted range | Timebox five hours. Each output has its own release check (search path, HAC wiring, canonical analysis). At the timebox, outputs that have not passed are left out of the report and the narrower method is stated |

Design boundary. The engine knows nothing about ERCOT, zones or electricity. That keeps it testable with the NCSS example and reusable later.

Exit checks. The expected values below are typed into a test file from the NCSS chapter and from the review’s independent reconstruction, never computed by the engine itself.

- NCSS reference test, search off. Reproduce the NCSS Odor output to its printed precision. R2=0.881989, the coefficients, the sequential sums of squares 7143.25 (linear), 11445.233333 (quadratic) and 293.5 (interaction), the factor ANOVA and the pure-error lack of fit [1]. NCSS’s printed output removes zero terms, so the search was not active there. The canonical analysis gives a stationary point near 0.122,0.200,1.771 with fitted value −52.02 and eigenvalues of about 6.04, 31.10 and 48.86. All are positive, so it is a minimum, and Height = 1.77 lies outside the design.

- Search on, our own check. With the 0.01 cutoff the search removes Temp × Height (loss 0.00042), then Ratio × Height (0.00057), then Height² (0.0064), and stops at Temp × Ratio (0.0127), leaving R2=0.8746. This path comes from the review, not from NCSS.

- Noise-free known surface. Full-rank designs in two and in three coded factors with a known quadratic and no noise. Coefficients and xs must come back to numerical tolerance (about 10−8). This catches sign and indexing bugs deterministically.

- Coding check. Refit the known surface after recoding one factor and confirm fitted values and the search path are unchanged.

- HAC wiring check. On a small fixture, compute one Wald statistic by hand from the coefficients and the reported covariance and match statsmodels. Assert the covariance is symmetric, positive semidefinite, sized to the term order, and that every test has fewer restrictions than residual degrees of freedom.

- Seeded noisy smoke test. Simulate 365 noisy days from a known surface with a fixed seed. Coefficients should land within generous bounds (about four standard errors). This is a smoke test, not a gate, because about 32% of correct single estimates fall outside one standard error.

- Optional cross-check. Fit the Odor model in R’s rsm and compare the canonical analysis [21].

## 6.5 Step 4 — Model runner (run_models.py)

Responsibility. Run the engine for every model in priority order and save the results in a form ready for the report.

The model grid. Every model includes the post-RTC+B block. Zone models are fitted on that zone’s complete days and system models on the complete SYSTEM days. The runner fits priority 1 first and writes the four-zone table before anything else runs.

| Model | Priority | Response | Factors | Purpose |
| --- | --- | --- | --- | --- |
| lvl_zone (×4) | 1, required | asinhy−y/MAD of the all-hours daily mean zone spread | Zone mean temperature, normalized zone peak load | Assignment-literal level surface in zonal temperature and zonal load |
| vol_zone (×4) | 1, required | Log of the daily SD of the zone spread | Zone mean temperature, normalized zone peak load | Assignment-literal volatility surface |
| lvl_sys, vol_sys | 2 | Same two responses for the daily system spread | System mean temperature, normalized system peak load | System context, from required data only |
| lvl_zone_onpeak (×4) | 2, robustness | Same as lvl_zone on the weekday on-peak mean, at most 261 days | Same as lvl_zone | Shows whether the level result depends on the hours chosen |
| Optional phase | Only if you extend | See Section 6.7 | Adds the load forecast error, net load or West wind | Section 6.7 |

Every main model uses only the five required datasets and two factors. Without forecasts the surfaces cannot separate expected conditions from surprises, so the report says so in its limitations. The optional phase is where forecast surprises come in.

Cut from the grid. The ex-ante surfaces and their persistence race, the heat-rate and demand surfaces, gross against net, and the deseasonalized, IQR and HSL rows. Section 6.7 lists them as future work.

Key design choices

| Choice | Alternatives | Why this one |
| --- | --- | --- |
| Main models use only the five required datasets and two factors | Use every pulled dataset in the main models | Owner decision. The main result depends only on what the assignment names, and an optional dataset that fails cannot block it (D45) |
| Zone models first and protected. Both responses for all four zones before any system or extra model | System headline first | The assignment asks for response surface regression on zonal data. A complete system study without zonal fits would miss a literal requirement |
| A system model on the load-weighted spread, plus zone models, never stacked | Stack 1,460 zone rows into one pooled model | The four zone rows of a day share system conditions and their spreads move closely together [3], so stacking would treat near-copies as independent days and lags would run across zones. A stacked model with zone effects and Driscoll–Kraay errors would also work but is harder to explain |
| Between-zone differences shown descriptively for all four zones. The four zone surfaces are compared on one dollar color scale, and the between-zone table gives correlations and basis distributions | A single West-basis regression as “the” test of zone differences | The between-zone table covers every zone. The optional West basis model is its own estimand, not a substitute for a stacked test (D35) |
| Two co-primary responses, the all-hours mean spread level and log spread SD | Volatility only | The assignment asks about spreads and the project title about volatility. Fitting both on the same factors answers both |
| Log of the raw daily SD for volatility, asinh with median and MAD standardization for level | asinh with a fixed $10 scale, winsorizing, no transform | A SD is positive, so the log is defined once SD > 0 is asserted. Asinh handles spiky prices that can be negative [7], and the cited transform work standardizes by median and MAD first [13]. Your own normal probability plot and residual plots, not the foreign-exchange analogy [17], justify the log |
| Every surface labeled explanatory | Add ex-ante surfaces and a persistence race | The factors are same-day realized values that no one knows before the close. Version 3.2 makes no forecasting claim, which removes the need for a forecast origin, a fair baseline and gas release times. The interview answer to “could a trader use this?” is that it would need decision-time inputs, which is future work |
| Report n, coverage losses, HAC lag and gaps for every model | Report fit statistics only | The sample is not the calendar. Different models use different days |
| Specifications in the configuration, with decision IDs | Hard-coded loops | Adding or changing a model is a one-line change |
| Save every table as a file named by model, inside the run folder | Print to screen | Traceability. Every number in the report has a file and a run.json behind it |

Exit checks. All priority-1 models appear in the four-zone table with n, HAC lag and gaps. Weak fits and flat surfaces are recorded as findings, not failures. Modest R2 is normal for spread volatility. Any model that failed a check is listed with the reason.

## 6.6 Step 5 — Figures (figures.py)

Responsibility. Produce the exploration figure, the result figures and compact diagnostics. Every figure is drawn at its final printed size by the script.

| Figure | Priority | Design choice and reason |
| --- | --- | --- |
| 2 × 2 exploration figure | Required | Panels are the hourly spread distribution on the asinh scale, daily spread SD against temperature colored by normalized peak load, DA IMHR against zonal load, and the zonal spread correlation heatmap from your own data. One figure carries four justifications |
| Zonal contour maps | Required | Each zone’s volatility surface in temperature and normalized zonal peak load. The main models have only these two factors, so the map shows the whole fitted surface with nothing held fixed. Back-transformed to $/MWh. One shared color scale across zones. One representative zone in full size, the four as small multiples if space allows |
| Compact diagnostics | Required | Residuals against fitted values and against time, and the normal probability plot, for the models in the report |
| System contour map | Second priority | Temperature and normalized system peak load, the system model’s own factors, with its own axis labels and the same dollar color limits |
| Binned spread SD against peak load | Second priority | Your own evidence about the shape. Annotate “flat then steep” only if the bins show it |
| West basis against West wind surprise | Optional phase | Daily West basis colored by West peak load, with the fitted slice at the other factors’ medians and the sign convention printed beside it |
| Daily DA and RT prices, IMHR box plot, hour × temperature heatmap of mean absolute DA−RT spread with bin counts | Repository only | Useful for checking, not worth report space |

Contour rules.

- Axes match the fitted model. The zone surfaces use temperature and zonal peak load. The system surface uses temperature and system peak load. An optional-phase model is drawn on its own factors. A surface fitted on one set of factors is never drawn on another set’s axes.

- Masking uses all of the model’s factors. For the two-factor main models that is exactly the plotted plane. If a three-factor optional model is plotted as a slice, the distance also counts the held factor, because a point can sit right on top of an observed day in the two plotted factors but far from it in the third. The radius, and any held value, are printed in the caption.

- The block setting is stated. Plotted surfaces use post_rtcb = 1, the regime that covers most of the year.

- Stationary points only where they belong. For a two-factor model the stationary point is marked if it lies inside the data. For a three-factor slice it is marked only if it lies on the slice and inside the data. Otherwise the slice’s own optimum is marked and labeled as such, or nothing is marked.

- If masking breaks under time pressure, replace the map with observed days drawn as points colored by their fitted values, plus a small table of fitted values. A fully colored rectangle would present extrapolation as a finding.

Back-transformation. For the log SD model the dollar value is SD=expy⋅1ni​expei, Duan’s smearing estimate [22]. For the level model it is S=y+MAD⋅1ni​sinhy+ei. Both assume the residuals have one common distribution across factor values and regimes. Plot residual spread against each factor and the block. If it clearly changes, say the dollar contours are approximate and show the unsmeared back-transform beside them. Without smearing the back-transform gives the median, but only if the residuals have median zero.

Consistency rules. One fixed color per zone across all figures. Every axis has units. Spread sign conventions are printed where a figure uses them. Final figures at 300 dpi.

## 6.7 Step 6 — Optional phase (in run_models.py)

Responsibility. Extra analyses that use the optional datasets or go beyond the assignment. Nothing here runs unless three things hold. The minimum deliverable in Section 11 is complete (the Thursday gate), contingency time is left, and you decide to extend. The phase starts with ingest.py --optional, which pulls only the datasets the chosen items need, in the order of the table, and only while about 15% of requests remain. Each item is reported as an addition to the main result, never as a replacement for it.

| Item | Optional data needed | About | What it adds |
| --- | --- | --- | --- |
| Three-factor zone models | Load forecast | 1.5 hours with the pull | Refit lvl_zone and vol_zone with the zone load forecast error as a third factor, the signed daily mean for level and the daily RMS for volatility. Shows whether surprises explain spreads beyond temperature and load. Forecasts are the latest vintage at or before 10 a.m. Central the day before (D8) |
| Load-weighted temperature | Weather-zone load | 30 minutes with the pull | Recompute zone temperature with weather-zone load weights and refit the main zone models once as a sensitivity |
| Net-load system model | Wind and solar, plus the load forecast for the error factor | 1.5 hours with the pulls | Refit the system models on system peak net load and, if the load forecast was pulled, the net-load forecast error |
| West basis model | Wind. West load is already in the required data | About 2 hours | Is West’s separation from the rest associated with West load and West wind? Response is the daily all-hours mean of Bt=SWest,t−Srest,t, asinh-standardized, with raw-scale mean, SD, percentiles and intervals reported beside it. The joint HAC Wald test of the nine slopes is a test of West-basis factor dependence. It is not a test of whether the zones differ, and it is not equivalent to a stacked model (D35). One table row and one small figure |
| Event table | None | 30 minutes | What happened on the most volatile days? Top five days per zone ranked by the actual daily spread SD, with ties broken by date. Show date, SD, mean spread and factor values. Annotate events only after ranking. Winter Storm Fern was January 23 to 26, 2026 [26]. ERCOT’s records page listed the July 22, 2026 peak at 91,134 MW when checked on October 3, 2026, still subject to settlement revision [25]. No causal claims about batteries or other drivers |
| Storage | Storage | — | Descriptive only. No model uses it (D26) |

Reading the West basis. Write the result in association language whichever way it comes out. The basis is B=PWDA−PrestDA−PWRT−PrestRT, so a $10 rise in West RT alone lowers B by $10.

- No slope is clearly different from zero. Say “no detected association between the West basis and these factors,” with intervals. That does not mean the zones are equal. A basis that is always about $10 has zero slopes but a real separation, and a North–South difference can persist while West sits at their average. Use the between-zone table for how often and how much the zones separate.

- Wind surprise is associated with the basis. When West wind beats its day-ahead forecast, West RT tends to fall relative to the rest. Realized wind can itself respond to prices through curtailment, so this is an association, not a measured congestion effect.

- West load is associated with the basis. On high West load days West RT tends to clear above DA relative to the other zones. Causal attribution to import congestion would need constraint or shadow-price data.

State four caveats with it. The DART basis is not the price basis the market monitor reports, because it removes the congestion the DA market already priced. Load-zone prices are load-weighted averages of many nodes, so LZ_WEST understates Far West and Permian separation [2]. Never model an IMHR basis, because West IMHR depends on a Henry Hub proxy that misses Waha. Spike days dominate, so report leverage for the basis model too.

Cut, moved to future work in the repository README. Each entry says what it would need to be done properly.

| Cut | Why, and what it would need |
| --- | --- |
| Ex-ante surfaces, rolling monthly folds, persistence baseline, Diebold–Mariano test | Beyond the assignment and not yet fair. It would need one declared forecast origin, every predictor and baseline proven available at that time (persistence would use D−2 for a D−1 forecast), gas release times rather than observation dates [30], fold-local selection and scaling, and scores on identical eligible days |
| RTC+B regime test | The pre-period is 65 autumn days and the post-period has no October or November, so season and regime cannot be separated. A proper version would jointly test the intercept and slope changes, restrict contrasts to shared factor support, and use other years as a placebo |
| Heat-rate and demand surfaces | Not required. IMHR and zonal load are still computed and shown descriptively |
| Gross against net load comparison | Not required. The system model uses net load directly |
| Deseasonalized SD, log IQR and HSL-based error | Robustness rows the page budget cannot hold. HSL would also need its field meaning verified |
| Battery-charging load adjustment | Needs zonal charging or a tested allocation rule, and a comparison with settlement load |
| Custom EWC standard errors | Better small-sample calibration but needs an independent check. Replaced by statsmodels HAC (D17) |
| Quantile surface, week bootstrap, gradient boosting score | Optional research with their own inference questions |
| Grid-point sensitivity refit, 24-hour-lead temperature, asinh scale sensitivity, 2024 placebo weeks, synthetic end-to-end run, RT adder pull | Already cut in version 3 |

How to word anything about RTC+B. The block coefficient is a sensitivity control, not an effect. The pre-period is October 1 to December 4 only, so any before-and-after difference is also a difference between autumn and the rest of the year. Describe it, give its interval, and do not decide in advance which way it should go.

# 7. Cross-cutting concerns

## 7.1 Time

| Issue | Handling |
| --- | --- |
| Daylight saving | Grid generated in Central time and stored in UTC. All joins in UTC on interval starts. Both transition days are test fixtures |
| Hour ending convention | Hour ending equals local hour plus one, computed only for features. Hour-ending sources are shifted to interval starts before joining |
| Day-ahead market timing | Offers close at 10 a.m. Central on the day before and results are posted by 1:30 p.m. [29] |
| Load, wind and solar forecasts | Optional phase only. The latest vintage at or before 10 a.m. Central the day before, chosen per operating hour and asserted per row with the publish time kept (D8) |
| Temperature | ERCOT weather-zone temperature in °F, latest vintage for each hour, published up to about three days after it. No earlier forecast vintage is used (D23) |
| Gas | Daily Henry Hub proxy. Flow day F uses the last observation dated before F under a labeled assumption, with a same-date sensitivity. Observation dates are not release times, and gas days start at 9 a.m. (D13) |
| Models | All explanatory, using same-day realized values. No model claims to use only information known before the close (D30) |
| Study period boundaries | timezone="market" on every pull, trimmed to exact local days, grid end bound exclusive |

## 7.2 Space

| Mapping | Choice | Known limitation |
| --- | --- | --- |
| Price zone to load data | Load zone to forecast zone of the same name | Municipal and co-op load zones sit inside forecast zones, so the match is approximate. Real-time load stopped including battery charging at RTC+B [11]. Zonal load is kept as published, the block term absorbs an additive shift, and the change is stated |
| Price zone to weather | ERCOT weather zones grouped by load zone with equal weights. Load weights only as an optional-phase sensitivity | Weather zones are ERCOT’s climate regions and do not match load zones, so the grouping is approximate. Each weather zone is one ERCOT value, and the dataset page does not say how ERCOT builds it. Houston rests on a single weather zone (Coast). The mapping is recorded |
| Price zone to price zone | Between-zone table for all four zones. West against the load-weighted average of Houston, North and South only in the optional basis model | Load-zone prices are load-weighted averages of many nodes, and the market monitor finds congestion inside load zones larger than congestion between them [2]. So zone comparisons understate local separation |
| Price zone to gas | Henry Hub for every zone | Henry Hub misses Texas basis, especially Waha in the West, which EIA reports traded far below Henry Hub and often below zero in 2024 [27]. The market monitor computes implied heat rates with ERCOT’s Fuel Index Price [2], which has no free public history. So zonal IMHRs differ only by zonal power price, and every IMHR is labeled Henry-Hub-based |
| Price zone to wind and solar | Optional phase only. System totals for the net-load system model, West load-zone wind for the West basis model | Solar is only available as a system total in this dataset |

## 7.3 Missing data policy

| Situation | Policy |
| --- | --- |
| A whole hour of a source missing | Stays empty in the panel. Counted in the quality report |
| Fewer than four distinct RT intervals in an hour | No hourly RT price and no spread for that hour. The partial mean is kept as a flagged diagnostic only |
| A duplicated RT interval | Structural error. The build stops |
| One weather zone missing | Weights renormalized over the weather zones present and the hour flagged, because the measure changes |
| Broken repeated DST hour in temperature | Both values set to the mean of the neighboring hours and flagged |
| Optional phase. No forecast at or before 10 a.m. the day before | Left empty and counted. Never filled from a later vintage. Days without a full forecast drop out of the models that use a forecast-error factor |
| Gas on weekends and holidays | Last observation carried forward under the assumed rule |
| Gas for the last days of the window | Re-pull the EIA Henry Hub dataset after its weekly refresh into a new snapshot, compare it with the first pull, and choose one snapshot for the final run |
| Gas at or below the floor | IMHR left empty for those hours (does not happen with Henry Hub) |
| A day missing any expected hour of spread | Kept in the table with complete_day = False and left out of the models. Counted by zone. A partial-day sensitivity is added if more than about 5% of days fail |
| Weekend on-peak means | Missing by definition, never zero |
| Model rows with any missing response or factor | Dropped for that model only, and the model’s n is reported |

## 7.4 Outliers and heavy tails

Price spikes are real market events, not errors, so the plan never deletes them. The log and asinh transforms compress the response’s tails, which can reduce the influence of spike days [7] [13]. They do not change leverage, which depends only on the factors, so extreme temperature and load days can still dominate the design. HAC errors change the uncertainty, not the coefficients. Leverage and Cook’s distance on every reported model show which days drive the fit, and dropping the top events is a diagnostic, not the main fit. A quadratic still cannot follow the flat-then-steep shape of the supply stack [5], and recent ERCOT evidence finds a threshold response to heat [15]. The binned plot in 6.6 shows how far off it is.

## 7.5 Units

Prices and spreads in $/MWh, gas in $/MMBtu, IMHR in MMBtu/MWh because ($/MWh)/($/MMBtu) = MMBtu/MWh, load and net load in MW, temperature in °F requested explicitly, degree days in °F·day, and, in the optional phase, load forecast errors in percent and net-load forecast errors as a share of the 99.5th percentile of net load. Marginal effects in $/MWh per °F and per GW. Units are declared in the configuration, checked in the build step and never change after that.

## 7.6 Reproducibility

- ingest.py is run separately and never by the runner, so a rebuild never spends API requests.

- run_all.py rebuilds build, models and figures from one named raw snapshot, in order, and stops at the first failure.

- Each run writes run.json with the resolved settings, the decision IDs behind them, the raw snapshot and file checksums, package versions (including pyarrow, pandas, statsmodels and scipy), the code commit and any seeds.

- Raw snapshots are immutable. A refresh, such as the Thursday gas re-pull, creates a new snapshot that is compared with the old one before it is chosen.

- Package versions are pinned in a requirements file.

- The repository is published on GitHub and linked in the report. data/ and .env are in .gitignore.

- Code freezes at noon on Saturday, October 10.

## 7.7 Size and performance

The analysis is small. About 35,000 hourly rows and about 1,825 daily rows. A full rebuild in a few minutes is a target, not a measurement. Time one complete run on your machine once the pipeline exists and record it. Correctness and quick iteration come before any speed work.

# 8. Validation and testing strategy

The plan separates hard gates, which stop the work or keep an output out of the report, from diagnostics, which are reported as findings.

| Layer | What it checks | Type | When |
| --- | --- | --- | --- |
| Engine reference test | Frozen NCSS Odor values with the search off, and the search-on path from the review (6.4 checks 1 and 2) | Gate | Before real data |
| Engine deterministic tests | Noise-free known surface, coding invariance and the HAC wiring check (6.4 checks 3 to 5) | Gate | Before real data |
| Noisy smoke test | Seeded simulation with generous bounds (6.4 check 6) | Diagnostic | Before real data |
| Access gate | Account limits, page size, dataset access and history start recorded in access.json | Gate | First thing Sunday |
| One-week test pull | Every source returns the expected columns, units and request cost, and align() runs end to end on real files | Gate | Sunday, before the full pull |
| Cache identity | A test file cannot satisfy a full-year query, and a manifest mismatch stops the run | Gate | Sunday |
| Calendar and coverage fixtures | Both DST days and both November 2 1 a.m. offsets, the study boundaries, a duplicated quarter-hour (expect a stop), one missing interval (expect no hourly price), one missing hour (expect complete_day = False), a weekend on-peak mean (expect missing, not zero), for the optional phase a forecast published at 10:05 a.m. the day before (expect rejection) and a parquet round trip across DST | Gate | With align() and make_features() |
| Data quality asserts | Unique keys, cardinality, one-hour spacing, local day lengths, coverage counts, units, forecast publish times in the optional phase, gas observation date before flow day | Gate for structure, diagnostic for missing shares | After the build step |
| Manual spot checks | One normal summer hour, both November 2 1 a.m. hours and the March 8 transition traced from raw files. One day’s features recomputed by hand | Gate | After the build step |
| Model diagnostics | Residual plots, residual autocorrelation, VIF, condition number, rank, leverage and Cook’s distance, exact-repeat count and the cubic-extension test | Diagnostic | After each model |
| Number check | Every number in the PDF matched to an output file listed in run.json | Gate | Saturday |

A pipeline can run without errors and still be wrong. That is why the reference test, the fixtures and the manual spot checks exist. The NCSS match checks fitting, search and canonical analysis. It cannot check the HAC covariance, which has its own wiring test.

# 9. Design decision records

Each record states the decision, the options considered and the reason. These are the answers to “why did you do it that way.” Records changed in version 3.2 are marked (v3.2). Records that are no longer in force are marked cut and keep their number so earlier notes still make sense.

| ID | Decision | Options considered | Reason |
| --- | --- | --- | --- |
| D1 (v3.2) | File-based batch pipeline in four scripts with parquet between them, plus a small runner | Notebook, database, six stage scripts | Reproducible, inspectable, no setup. A notebook run top to bottom would also work, but scripts are easier to cache and review |
| D2 | UTC as the only join key | Local time | Removes daylight saving errors |
| D3 (v3.2) | Complete zone × hour grid with left joins and declared cardinality | Inner joins | Missing data stays visible and duplicate keys are caught |
| D4 (v3.2) | October 1, 2025 to September 30, 2026 | Calendar 2025 | A recent year, mostly after RTC+B. It includes Winter Storm Fern (January 23 to 26, 2026) [26] and the July 22, 2026 peak, listed at 91,134 MW on ERCOT’s records page on October 3, 2026 and still subject to revision [25] |
| D5 | Four competitive load zones | All eight load zones, hubs | Clean match to forecast-zone load and a focused report |
| D6 | Load by forecast zone | Weather zones | Roughly the same four regions as the price zones |
| D7 (v3.2) | RT hourly price as the mean of four distinct 15-minute prices. Incomplete hours get no price | Mean of available intervals, load-weighted mean | Correct for a flat hourly DA position, and a missing scarcity interval cannot hide |
| D8 (v3.2) | In the optional phase, forecasts are the latest vintage at or before 10 a.m. Central the day before, via latest_before, checked per operating hour | A 7 to 9 a.m. window, all vintages, the latest forecast | The documented bid-close recipe [28]. It selects per operating hour, so one shared daily report is not assumed |
| D9 (v3.2) | ERCOT weather-zone temperature from Grid Status, grouped by load zone with equal weights, plus the range across weather zones. Load weights only as an optional-phase sensitivity | Open-Meteo reanalysis grid points, one weather zone per load zone, load weights in the main model | Keeps every input on Grid Status and the main model on required data [31]. Which locations are used and how they are weighted matters for load [16], so the mapping is recorded |
| D10 (v3.2) | Daily unit of analysis | Hourly | Gas is daily and daily data cut intraday noise. 365 is the calendar, not each model’s n. Curvature needs a full-rank design with spread in the factors, not just a count |
| D11 (v3.2) | Co-primary responses, the all-hours mean spread (asinh) and log of the raw daily spread SD | On-peak mean as the main level, deseasonalized SD | All-hours exists every day. Raw SD is easy to explain and is described as within-day dispersion |
| D12 (v3.2) | Main zone models use zonal temperature and zonal peak load. Main system models use system temperature and system peak load. Forecast-error and net-load factors only in the optional phase. IMHR is descriptive only | A third forecast-error factor, net load, IMHR as a factor | The assignment asks for zonal load measures on zonal data and names no forecast data. DA IMHR shares the DA price with the spread |
| D13 (v3.2) | EIA Henry Hub from Grid Status for every zone under a labeled one-observation lag, with a same-date sensitivity | Regional hubs, treat the lag as verified | No free daily Texas hub history was found. The source metadata do not establish the delivery mapping [30], and gas days start at 9 a.m. [46] |
| D14 (v3.2) | Small RSR engine on statsmodels, validated against frozen NCSS values and a noise-free surface | R rsm through rpy2, write everything from scratch | No Python package does the NCSS search, grouping and canonical analysis together [1] [33]. NCSS matching checks fitting, search and canonical analysis. It does not check the HAC covariance, which has its own test |
| D15 (v3.2) | Min–max coding to −1,1, frozen with each fit | Percentile coding, z-scores | Recoding keeps fitted values and the search path. It changes all coefficients, eigenvalue sizes and what a coded radius covers |
| D16 (v3.2) | Lack of fit by pure error if exact repeats exist, otherwise a HAC Wald test of the nine cubic-extension terms | Binned pure error, classic nested F | No exact repeats are expected. Binned repeats can give invalid results. The test cannot see an x1x2x3 departure and non-rejection is not adequacy |
| D17 (v3.2) | statsmodels Newey–West HAC with L=⌈1.3T ⌉, t and F references, labeled approximate | Plain OLS, custom EWC | Daily data are autocorrelated [9]. Custom EWC needed its own validation within the time left. The p-values may be a little small under strong persistence, so effect sizes lead |
| D18 | Cut. Rolling-origin validation and the Diebold–Mariano test | — | No forecasting claim in version 3.2 |
| D19 (v3.2) | Mask contours with a three-factor distance to observed days. Fallback is an observed-day scatter | Plot the full rectangle, a two-factor mask | Avoids showing extrapolation, including in the held factor |
| D20 | Cut. Regime test | — | Season and regime cannot be separated in this window |
| D21 (v3.2) | Net load moves to the optional phase. The main system model uses system load | Net load in the main model | Net load needs the optional wind and solar data. The evening net-load ramp drives a large share of spikes [2] [14], so it is the first system extension |
| D22 | System model on the load-weighted spread, never stacked with the zones | Stacked pooled model | Zone spreads move closely together [3], so stacked rows are near-copies |
| D23 (v3.2) | Temperature is the latest published value for each hour. No earlier forecast vintage is used as a factor | A day-ahead temperature vintage | The factors describe realized conditions, and the latest vintage is the closest to observed that Grid Status offers |
| D24 | Cut. Deseasonalized SD robustness | — | Page budget |
| D25 | Cut. Persistence baseline | — | No forecasting claim |
| D26 (v3.2) | No battery-charging load adjustment. Zonal load as published, RTC+B block, caveat | Subtract system charging from each zone | System charging cannot identify four zonal amounts |
| D27 (v3.2) | asinh with median and MAD of the model sample, asserting MAD > 0 | Fixed $10 scale | The convention in the cited transform work [7] [13] |
| D28 (v3.2) | Representative spreads are the all-hours, on-peak and off-peak daily means, per zone and for the system, with day counts | One mean, hub prices | Answers the assignment literally, with the all-hours mean defined every day |
| D29 (v3.2) | DA and RT IMHR descriptive only | IMHR as a factor or response | RT IMHR shares the RT price with the spread, and DA IMHR shares the DA price |
| D30 (v3.2) | All surfaces explanatory. No ex-ante models | Ex-ante surfaces with a persistence race | Removes the need to prove a forecast origin and every input’s availability |
| D31 | Full quadratic for inference, NCSS-reduced model for description | Inference on the reduced model | Post-selection p-values are too optimistic [19] |
| D32 | Cut. Heat-rate and demand surfaces | — | Not required, and IMHR and load are shown descriptively |
| D33 (v3.2) | Post-RTC+B intercept block in every model as a sensitivity control | No regime term, post period only | Keeps an additive shift out of the surface. It does not identify the redesign’s effect, because the pre-period is autumn only |
| D34 (v3.2) | Extensions grouped into one optional phase that runs only after the minimum deliverable and only if you decide to extend | Extensions mixed into the main plan | Protects the zonal core and the writing time |
| D35 (v3.2) | West basis as its own descriptive response, with a test of factor dependence | Present it as equal to a stacked test | Equivalence needs identical factors, constant weights, a linear response scale and joint covariance. Here the weights change hourly and the response is asinh-transformed. asinh(20) − asinh(10) = 0.691, while asinh(10) = 2.998 |
| D36 | Descriptive between-zone table on the RT and DA price basis | Shadow prices | ERCOT publishes no separate congestion component, so location minus an average is the standard measure [36]. Shadow prices would use much of the row budget |
| D37 (v3.2) | Optional phase. West wind level from the day-ahead forecast, surprise as output minus forecast | Actual output as the level | Keeps curtailment out of the level. The surprise still uses realized output, so it is an association |
| D38 (v3.2) | Raw files carry manifests, are written atomically, keep test and full apart and are refreshed as new snapshots | Skip if the file exists | Prevents reusing the wrong query and half-written files |
| D39 (v3.2) | Measure account limits first and budget requests as well as rows, in priority order | Budget rows only | Requests, not rows, may be the binding limit [43] [44] |
| D40 (v3.2) | Daily responses need every expected local hour, from the Central calendar | A fixed 23-hour threshold | Day length varies and one missing spike hour can change a daily SD a lot |
| D41 (v3.2) | Report the lowest and highest fitted values over observed days instead of a constrained optimizer | Bounded optimization | Exact and explainable. An optimizer cannot certify an optimum over patchy support |
| D42 (v3.2) | A runner and run.json beside every output set | Configuration file as the only record | Links each output to the settings and inputs that made it |
| D43 (v3.2) | One robustness refit, the zonal level surfaces on the weekday on-peak mean | Several robustness rows | One question tied to the main result fits the page and time budget |
| D44 (v3.2) | Every dataset from Grid Status through its API | Open-Meteo for temperature, FRED for gas | Owner decision. One key, one manifest format, one timezone convention and one request budget. The cost is that temperature is an ERCOT forecast product whose latest vintage has to be checked, and that one vendor’s limits bind every input |
| D45 (v3.2) | Main models use only the five required datasets. Optional datasets are pulled only after you decide to extend | Pull everything on Sunday and use it in the main models | Owner decision. The main result depends only on what the assignment names, Sunday’s requests go only to required data, and nothing optional can block the assignment |

# 10. Risks and mitigations

Likelihood and impact are planning judgments, not measured probabilities.

| Risk | Likelihood | Impact | Mitigation |
| --- | --- | --- | --- |
| Zonal response surfaces are not finished by the deadline | Medium | High | They are the minimum deliverable. System fits, robustness and the optional phase are cut first. Thursday gate in Section 11 |
| The request limit runs out before the required data are in | Medium | High | Measure limits and page size first, budget pages, pull only required data on Sunday, chunk RT, server-side hourly RT as a fallback |
| A dataset is not available on the free plan or its history is too short | Medium | High for required data, Low for optional data | Access gate before the test pull. Optional data only affect the optional phase |
| A cached file is reused for the wrong query | Low | High | Manifests, separate test and full folders, atomic writes |
| Grid Status dataset ids or columns differ from the plan | Medium | Medium | One-week test pull of every source, column lookup by candidates, unit checks |
| Grid Status is the only source, so an outage or a missing dataset has no fallback | Low | High | Access gate and trial pull on Sunday morning leave the rest of Sunday to react. Required datasets are pulled first and cached for good |
| The temperature series is a forecast rather than an observation for past hours, or the DST hour is broken | Medium | Medium | Two-day all-vintage check in the trial, DST days inspected and repaired with a flag, and the report says exactly what the series is |
| latest_before returns no vintage for some hours (optional phase) | Low | Low | Leave empty and count. Never widen to a post-close vintage. Main models are unaffected |
| Missing RT intervals bias spreads | Medium | High | Four distinct intervals per hour, complete expected hours per day, coverage counts in the Data section |
| Time zone or DST bug | Medium | High | UTC joins, generated grid, fixtures for both transition days, manual traces |
| Temperature mapped wrongly | Low | High | Mapping in the configuration, range assert in °F, optional load-weighted comparison |
| Gas lag assumption is wrong | Medium | Medium | Labeled as an assumption, same-date sensitivity, no timing claims built on it |
| RTC+B load definition change distorts zonal load | Medium | Medium | Zonal load as published, block term, stated caveat |
| HAC p-values are approximate | High | Medium | Labeled approximate, effect sizes and intervals lead, no sharp threshold claims |
| Regime confounded with season | High | Medium | Block is a sensitivity control only. No regime test and no claim about the redesign’s effect |
| The West basis surface comes out flat | Medium | Low | Report no detected association with intervals. Use the between-zone table for how much zones separate. A flat basis does not establish that risk is system-wide |
| Two-factor surfaces miss forecast surprises | High | Low | Stated in the limitations. The optional phase adds the forecast-error factor if you extend |
| Low R2 | High | Low | Expected for volatility. Report honestly and lean on marginal effects and the dollar contours |
| The NCSS search strips most curvature | Medium | Medium | The full quadratic is the inferential model anyway. Report little in-sample curvature as a finding |
| Stationary point outside the data or B nearly singular | High | Low | Report it as outside or as a ridge, and use the fitted range over observed days |
| Temperature and load too collinear | High | Medium | VIF, condition number and rank on all terms, masking on all of the model’s factors |
| Engine work takes too long | Medium | Medium | Five-hour timebox, per-output release checks, omit any output that has not passed |
| Report runs out of time | Medium | High | Data section drafted Thursday, page budget fixed, code freeze Saturday noon, contingency goes to writing before the optional phase |
| Running out of time overall | Medium | High | Four hours of contingency, build order that always leaves a usable result, hard cut list |

# 11. Build sequence and milestones

The order proves the riskiest parts first (account access, request budget, coverage and DST alignment), then the engine, then the zonal fits, and leaves a usable result at the end of every day. The plan starts from October 3 with no code and no data. It assumes the guide’s slots from October 4 to 11, about 38 hours, with 34 planned and 4 held as contingency. Any time used tonight adds to the contingency.

| Day (hours) | Work | Done when | Cut line |
| --- | --- | --- | --- |
| Sat Oct 3, evening (optional) | Grid Status account and key. get_api_usage() limits, page size, reset date. Dataset access and history start | access.json saved | Moves to Sunday if not done |
| Sun Oct 4 (9) | Access gate if not done (1). One-week test pulls of the five required datasets and request count (1). Full required pulls with manifests (2). align() with the DST and coverage fixtures (5) | Hourly panel of 35,040 rows passes the structural checks, the coverage table is written and the DST fixtures pass | No optional pulls. If the request budget is short, use the hourly RT fallback. Nothing else is cut, this is the critical path |
| Mon Oct 5 (3) | make_features(), the daily table with coverage columns, the representative spread table with between-zone columns | Daily table and representative spread table saved | Between-zone columns shrink to correlations and basis means |
| Tue Oct 6 (3) | Engine part 1. Terms, hierarchy, search and sequential sums of squares. NCSS reference test with frozen values | NCSS checks 1 and 2 pass | Search left out of the report if its check has not passed by Wednesday |
| Wed Oct 7 (3) | Engine part 2. HAC fit and wiring check, cubic-extension test, canonical analysis, noise-free and coding tests (2). First zonal fits (1) | Engine checks 3 to 5 pass and a first zone fits | Canonical analysis left out if unchecked. Report HAC results only if the wiring check passed |
| Thu Oct 8 (3) | Re-pull the EIA Henry Hub dataset as a new snapshot (minutes). All eight zonal fits with diagnostics and the four-zone results table (2). Draft the Data section (1) | Minimum deliverable analysis complete. This is the gate for the optional phase | If behind, cut the volatility contours to a table and keep all eight fits |
| Fri Oct 9 (4) | Exploration figure, zonal contour maps with three-factor masks, compact diagnostics (3). Draft the Method section (1) | Required figures saved | Masking fallback is the observed-day scatter |
| Sat Oct 10 (10) | System fits and the on-peak robustness refit (1). Optional phase only if the Thursday gate passed, contingency is unused and you decide to extend (from the 2 contingency hours, starting with the optional pulls). Code freeze at noon. Write Results, Key Findings and Limitations (5). Check every number against its output file and build the PDF (2) | Final PDF | No new analysis after noon |
| Sun Oct 11 (3) | Final read and upload to Box by noon (1). Contingency (2) | Submitted | — |

Minimum deliverable. Built only from the five required datasets. A Data section with coverage numbers and the zone-to-source mapping table. Spreads, the three representative spreads, zonal DA and RT IMHR and zonal load measures computed and shown. Level and volatility surfaces for all four zones, each with its n, sequential sums of squares, conditional HAC tests (if the wiring check passed), coefficients and shape. The four-zone results table. One masked zonal contour figure or its scatter fallback. Limitations and references. Everything after this is extra.

Effort estimate. Access and test pulls 2 hours, full ingest 2, align and fixtures 5, features and daily tables 3, engine and tests 5, zonal fits and diagnostics 3, figures 3, system fits and robustness 1, report writing, assembly and number checks 10. That is 34 hours, leaving 4 hours of contingency in the 38. Contingency goes first to slipped core work, then to writing, and only then to the optional phase. Section 6.7 lists the cost of each optional item.

Fallback plan. If the required pulls do not fit the request limit, ask the server for hourly RT averages and check the four-interval rule on one month of 15-minute data. If an optional dataset is unavailable later, only the optional item that needs it is dropped. If the HAC wiring check fails, report coefficients, fit statistics and sequential sums of squares without p-values and say why. If time runs short, drop work from the end of the priority list before cutting anything from the minimum deliverable or the checks.

# 12. How the architecture maps to the report and interview

Who is reading. Numerati Partners is a small risk-analytics advisory firm. Its website describes analytics and technology assessment work [34]. What its reviewers will reward is a guess. The assignment itself says it evaluates reasonable choices and their justification, and that the interview covers data, methods and choices. So the report leads with the zonal results and the reasons for each choice. The architecture, data layers and tests get one sentence and the repository link.

Page budget.

| Page | Content | Comes from |
| --- | --- | --- |
| 1 | Summary with four or five numbered key findings and a small four-zone figure | 6.5, 6.6 |
| 2 | Data and a mapping table. Zone → price node, load zone, ERCOT weather zones, gas proxy, timing rules. Every source is Grid Status. Coverage numbers | 5.1, 6.2, 7.1, 7.2 |
| 3 | Variable definitions (DART, representative spreads, IMHR, load and net-load measures) and the representative spread table with between-zone columns and day counts | 5.3, 5.4, D28 |
| 4 | The 2 × 2 exploration figure | 6.6 |
| 5 | Method (NCSS steps, coding, hierarchy, HAC errors and their approximation, cubic-extension test, block) and an eight-row key choices table | 6.4, Section 9 |
| 6 | Four-zone results table for both responses, and a short reading of where the zones agree and differ | 6.5 |
| 7 | One representative zonal contour map with the four zones as small multiples, plus its sequential sums of squares and marginal effects | 6.4, 6.6 |
| 8 | System surface and the on-peak robustness row. Optional-phase results only if that phase ran | 6.5, 6.7 |
| 9 | Limitations, then implications in at most half a page | 7.2, 6.7, Section 10 |
| 10 | References actually used and the repository link | Section 13 |

Writing the findings. Write them from your own numbers and let the data pick among the alternatives. Decide nothing in advance.

- Shape. If the volatility surfaces rise steeply in one corner of temperature and load, give the dollar size of that corner from the contours and the binned plot. If they are flat, say spread risk shows little dependence on these factors in this window.

- Zones. If the four zones share a shape, say so and give the between-zone correlations. If one zone differs, describe the difference with its surface and its basis distribution. Never conclude the zones are equal from a non-significant test.

- Level against volatility. Report whether the level surface moves with the volatility surface. The forward-premium theory relates the DA premium to the variance and skewness of RT prices [6]. That is context for a pattern, not a test of it.

- Limits of two factors. The main surfaces use temperature and peak load only. Say that they cannot separate expected conditions from surprises and, if the optional phase ran, what adding the forecast error changed.

- RTC+B. Report the block coefficient and its interval as a sensitivity result. It mixes the redesign with the autumn season and cannot say whether risk is now lower.

- Implications. The DA market is a way to hedge RT price uncertainty in general. A daily spread surface does not show that any position hedges well, because hedge value depends on the hourly quantity exposed and on what was known at decision time. Keep implications to what the surfaces describe.

Writing guidance. Write the choices in the first person with the trade-off you weighed. Replace citation-based justifications with evidence from your own data wherever possible, such as your zone correlation number, your binned plot, your residual plots and your coverage counts. Keep references for data sources and for method departures. Cite only what you have read, and treat ten references as a ceiling, not a target. Leave out the plan’s own reviewer-facing wording.

For the interview, the decision records in Section 9 are your talking points. Be ready to explain these in your own words.

- D12 and D45, why the main surfaces use only temperature and load from the required data, and what the optional forecast error would add.

- D8, if the optional phase ran, the forecast vintage and why it is 10 a.m. the day before.

- D7 and D40, why an hourly RT price needs four intervals and a day needs every expected hour. The [0, 0, 0, 1000] example makes the point.

- D13, the gas lag as an assumption, why it is not verified, and what the same-date sensitivity showed.

- D22, why the zones look alike and why the system model is not stacked with them.

- D29, why IMHR is descriptive and why RT IMHR cannot be a factor.

- D35, if the basis model ran, why it is its own response and not the same as a stacked test, and why zero slopes do not mean equal zones.

- D30, why every surface is explanatory, and what a forecasting version would need.

- D16 and D17, lack of fit without repeats and HAC standard errors with autocorrelated data, including why the p-values are approximate.

- D19, masking in all three factors.

If you can do that, you will show you understand both the energy market and the statistics.

# 13. References

Core references. These are the ones to read and cite in the report.

[1] NCSS. Response Surface Regression (procedure documentation, Chapter 330). ncss.com/wp-content/themes/ncss/pdf/Procedures/NCSS/Response_Surface_Regression.pdf

[2] Potomac Economics (2026). 2025 State of the Market Report for the ERCOT Electricity Markets. Independent Market Monitor for ERCOT. potomaceconomics.com/wp-content/uploads/2026/06/2025-State-of-the-Market-Report-for-ERCOT.pdf

[3] Hubert, E., Lolas, D. and Sircar, R. (2026). Trading electrons: Predicting DART spread spikes in ISO electricity markets. Energy Economics 162, 109590. arXiv:2601.05085. Mainly a NYISO study. Its ERCOT analysis uses 2018 to 2025 data and reports zonal DART correlations above 0.97.

[4] Zarnikau, J., Woo, C.K., Zhu, S. and Tsai, C.H. (2019). Market price behavior of wholesale electricity products: Texas. Energy Policy 125, 418–428

[5] Coulon, M., Powell, W.B. and Sircar, R. (2013). A model for hedging load and price risk in the Texas electricity market. Energy Economics 40, 976–988

[6] Bessembinder, H. and Lemmon, M.L. (2002). Equilibrium pricing and optimal hedging in electricity forward markets. Journal of Finance 57(3), 1347–1382. Theory for context, not a test of any strategy here.

[7] Uniejewski, B., Weron, R. and Ziel, F. (2018). Variance stabilizing transformations for electricity spot price forecasting. IEEE Transactions on Power Systems 33(2), 2219–2229

[8] Newey, W.K. and West, K.D. (1987). A simple, positive semi-definite, heteroskedasticity and autocorrelation consistent covariance matrix. Econometrica 55(3), 703–708

[9] Lazarus, E., Lewis, D.J., Stock, J.H. and Watson, M.W. (2018). HAR inference: Recommendations for practice. Journal of Business & Economic Statistics 36(4), 541–559. ebenlazarus.github.io/HARRecommendations.pdf. Source of the 1.3T Newey–West lag rule. Its fixed-b critical values are not used here.

[10] Hadiyat, M.A., Sopha, B.M. and Wibowo, B.S. (2022). Response surface methodology using observational data: A systematic literature review. Applied Sciences 12(20), 10663

[11] Grid Status (2026). RTC+B, 60 days later in ERCOT. blog.gridstatus.io/rtc-b-60-days-later-in-ercot

Background and data sources. These are for building the pipeline and preparing for the interview. Cite one in the report only if you use it directly.

[12] Lago, J., Marcjasz, G., De Schutter, B. and Weron, R. (2021). Forecasting day-ahead electricity prices: A review of state-of-the-art algorithms, best practices and an open-access benchmark. Applied Energy 293, 116983. arXiv:2008.08004. Future work only in version 3.2.

[13] Uniejewski, B. (2026). Variance stabilizing transformations for electricity price forecasting in periods of increased volatility. Electric Power Systems Research 257, 112992. arXiv:2511.13603

[14] Wang, X., Magableh, S.K., Dawaghreh, O., Wang, C. et al. (2024). Deep learning-based electricity price forecast for virtual bidding in wholesale electricity market. arXiv:2412.00062

[15] Bicen, Y. and Hammad, E. (2026). Parameters overshadowed by price lags: Load, climate, and calendar effects in ERCOT day-ahead price formation. arXiv:2608.20865. A gradient boosting study of DA price levels that finds a threshold response to heat.

[16] Hong, T., Wang, P. and White, L. (2015). Weather station selection for electric load forecasting. International Journal of Forecasting 31(2), 286–295

[17] Andersen, T.G., Bollerslev, T., Diebold, F.X. and Labys, P. (2001). The distribution of realized exchange rate volatility. Journal of the American Statistical Association 96(453), 42–55. Foreign-exchange evidence only, so treat it as an analogy.

[18] Diebold, F.X. and Mariano, R.S. (1995). Comparing predictive accuracy. Journal of Business & Economic Statistics 13(3), 253–263. Future work only in version 3.2.

[19] Leeb, H. and Pötscher, B.M. (2005). Model selection and inference: Facts and fiction. Econometric Theory 21(1), 21–59

[20] Peterson, J.J., Cahya, S. and del Castillo, E. (2002). A general approach to confidence regions for optimal factor levels of response surfaces. Biometrics 58(2), 422–431. Future work only.

[21] Lenth, R.V. (2009). Response-surface methods in R, using rsm. Journal of Statistical Software 32(7). cran.r-project.org/web/packages/rsm/vignettes/article-JSS.html

[22] Duan, N. (1983). Smearing estimate: A nonparametric retransformation method. Journal of the American Statistical Association 78(383), 605–610

[23] Grid Status. ERCOT RTC+B dataset changelog. docs.gridstatus.io/data-guides/ercot-rtc+b/dataset-changelog

[24] Yes Energy (2026). 6 months in review: ERCOT RTC+B insights and trends. yesenergy.com/blog/6-months-in-review-ercot-rtcb. Compares December to June of each year at hubs and excludes Winter Storm Fern.

[25] ERCOT. Peak demand records. ercot.com/static-assets/data/news/content/a-peak-demand/2026/all-time-records.htm. Listed July 22, 2026 at 91,134 MW when checked on October 3, 2026. Values are revised through settlement, so check again before submitting.

[26] ERCOT (2026). ERCOT Monthly Report, January 2026. ercot.com/files/docs/2026/02/13/ERCOT-Monthly-January-2026-FINAL.pdf

[27] U.S. Energy Information Administration (2025). Natural gas spot prices fell across key regional trading hubs in 2024. Today in Energy, February 3, 2025. eia.gov/todayinenergy/detail.php?id=64445

[28] Grid Status developer documentation. ERCOT day-ahead load forecast cutoff recipe (docs.gridstatus.io/developers/guides/recipes/ercot-day-ahead-load-forecast-cutoff), publish time concepts (docs.gridstatus.io/developers/concepts/publish-time), and the gridstatusio Python client (github.com/gridstatus/gridstatusio)

[29] ERCOT (2025). Day-Ahead Market Operations. ercot.com/files/docs/2025/08/22/2025_08-Day-Ahead-Market-Operations.pdf

[30] Grid Status. EIA Henry Hub Natural Gas Spot Prices Daily dataset. gridstatus.io/datasets/eia_henry_hub_natural_gas_spot_prices_daily. Refreshed weekly, no weekends or holidays. The EIA futures definitions page cited here in version 3 (eia.gov/dnav/ng/tbldefs/ng_pri_fut_tbldef2.asp) covers futures contracts and does not establish the spot delivery mapping, so it no longer supports D13.

[31] Grid Status. ERCOT Temperature Forecast By Weather Zone dataset. gridstatus.io/datasets/ercot_temperature_forecast_by_weather_zone. Hourly °F by weather zone, published daily at 5 a.m. with each file covering 2 a.m. three days before publication to nine days after. The page notes repeated-hour defects on DST days.

[32] Grid Status. ERCOT energy storage resources dataset. gridstatus.io/datasets/ercot_energy_storage_resources

[33] statsmodels documentation. OLS with HAC covariance and Wald tests. statsmodels.org

[34] Numerati Partners. numeratipartnersllc.com. For understanding the audience, not for citing.

Added in version 3.1. These support the between-zone work.

[35] Woo, C.K., Zarnikau, J., Moore, J. and Horowitz, I. (2011). Wind generation and zonal-market price divergence: Evidence from Texas. Energy Policy 39(7), 3928–3938

[36] Grid Status. Data guides (docs.gridstatus.io/data-guides) and Analyzing LMPs with a nodal price map (blog.gridstatus.io/analyzing-lmps-with-a-nodal-price-map). Also the gridstatus library’s ERCOT wind column list (github.com/gridstatus/gridstatus, ercot_constants.py) and the ERCOT DAM shadow price data product NP4-191-CD.

[37] Modo Energy (2024). Transmission congestion and price volatility in ERCOT’s West load zone. modoenergy.com/research

[38] Potomac Economics (2025). ERCOT Nodal Monthly Report, June 2025. potomaceconomics.com/wp-content/uploads/2025/07/2025-06_Nodal_Monthly_Report.pdf

[39] Zellner, A. (1962). An efficient method of estimating seemingly unrelated regressions and tests for aggregation bias. Journal of the American Statistical Association 57(298), 348–368

[40] linearmodels documentation. PanelOLS kernel (Driscoll–Kraay) covariance and the SUR system estimator. bashtage.github.io/linearmodels

[41] AEGIS Hedging (2026). Basis brief: Waha gas. aegis-hedging.com/insights/basis-brief-waha-gas. Its 2026 Waha figures were not re-verified in the October 3 review, so do not quote them without checking.

[42] Driscoll, J.C. and Kraay, A.C. (1998). Consistent covariance matrix estimation with spatially dependent panel data. Review of Economics and Statistics 80(4), 549–560

Added in version 3.2. These back the corrections from the architecture review.

[43] Grid Status. Pricing (free plan requests, rows and dataset access). gridstatus.io/pricing. Checked October 3, 2026.

[44] Grid Status developer documentation. API usage (docs.gridstatus.io/developers/api-reference/api-usage) and pagination (docs.gridstatus.io/developers/concepts/pagination)

[45] ERCOT. Market notice M-F110525-04, RTC+B go-live on December 5, 2025. ercot.com/services/comm/mkt_notices/M-F110525-04

[46] FERC. Order in Docket EL14-22-000, on the 9 a.m. Central gas day. ferc.gov/sites/default/files/2020-05/E-6_61.pdf

[47] Grid Status. ERCOT Load By Weather Zone dataset. gridstatus.io/datasets/ercot_load_by_weather_zone

[48] U.S. Energy Information Administration. Glossary entry for implied heat rate. eia.gov/tools/glossary/index.php?id=i

[49] Apache Arrow. pyarrow.parquet.write_table (store_schema). arrow.apache.org/docs/python/generated/pyarrow.parquet.write_table.html

[50] pandas documentation. DataFrame.merge (validate and indicator). pandas.pydata.org/docs/reference/api/pandas.DataFrame.merge.html

[51] statsmodels documentation. RegressionResults.get_robustcov_results (HAC options and reference distributions). statsmodels.org

[52] NIST/SEMATECH e-Handbook of Statistical Methods. Normal probability plot. itl.nist.gov/div898/handbook/eda/section3/normprpl.htm

[53] ERCOT. Combined wind and solar dashboard, explanatory notes on COP HSL. ercot.com/gridmktinfo/dashboards/combinedwindandsolar

[54] ERCOT. Market prices, settlement point prices at load zones every 15 minutes and price corrections. ercot.com/mktinfo/prices/index.html

Dropped earlier. Sobhani et al. (2019) on combining weather stations, Hong, Pinson and Fan (2014), the Arcobi and Modo blog posts, the Open-Meteo Previous Runs API and the ERCOT API examples were dropped in version 3. Open-Meteo and FRED were dropped in version 3.2 when every input moved to Grid Status.